**Meeting Minutes 3/4/2015**

* Met with group before presentation
* Discussed imminent design review to be performed in Dirac
	+ Siemens is very slow, given over a month they have only installed 1/45 motion sensors, they have installed the C02 sensors in the air ducts
	+ Discussed what we should talk about and show in Dirac
		- Lighting panel, close to what our zones we designed are
		- Zones we designed on computer
		- Motion sensor, as well as computer hook-up
		- Mechanical room with AHU and C02 sensor installed, as well as computer output of C02 sensor
* Siemens has still not responded on request to borrow a small C02 sensor and damper, said would get back to question, never did, will continue to email