**Meeting Minutes 4/8/2015**

* Met with group at COE in Atrium for Senior Design Presentation
* Damper control is functioning properly, if slowly, due to natural slow response time of C02 sensor, as well as low power of damper motor
* Talked to all reviewers as they came by
* Displayed powerpoint presentation with pictures/videos of installed sensors in Dirac
	+ Sensors still not operating as connected to lights but are storing data for analysis