## Slide 1: Milestone #1 Needs and Analysis Specifications
Team 12: Demand Side Management
September 30, 2014

## Slide 2: Team Overview

## Slide 3: Team 12:
Team Members
Project Manager: Patrick Dawson
Chief Research Officer: Dallas Perkins
Communication Liaison/Verification Officer: Matthew Streich
Financial Advisor: David Gonsoulin
Advisors
Main Advisor: Dr. Faruque
Review Committee: Dr. Li
Review Committee: Dr. McGinnis
Faculty Advisor: Dr. Frank
Sponsor: Mr. Jim Stephens

## Slide 4: Code of Conduct
Meeting Times
Faculty Advisor: Biweekly Monday @ 5pm
Sponsor/Main Advisor: Biweekly Monday @ 4pm
Group Meetings: Monday @ 5:30
Communication
E-mail, Phone Calls, Group-Me App
Document Transfer/Storage
Google Drive

## Slide 5: Patrick Dawson
Group Leader
  Interested in Electric Utilities and Renewables
  Internship last summer with large Public Utility
Treasurer for Engineers Without Borders
Hopes to bring knowledge into the group and help realize concepts such as rate tariffs and the economics behind a public utility

## Slide 6: Matthew Streich
Chief Communication Liaison and Verification Officer
  Responsible for arranging and recording meetings
  Serve as the buffer between the group and the advisor/customer
  Simulate the data in MATLAB, verifying the correctness of the design calculations performed
Has programming experience in both hardware and software in a variety of languages, from high-level OOP to assembly in two internships and at CAPS

## Slide 7: David Gonsoulin
Financial Advisor
  Manage budget
  Keep records of purchases/expenses
  Coordinate purchasing
Contributions
  Various programming languages
  Three phase analysis
  Some Research Experience in power

## Slide 8: Dallas Perkins
Chief Research Officer
  Analyze current building conditions
  Examine areas that need demand side management
  Research DSM options and implementation
Has experience in design of commercial buildings and analyzing blueprints
Studying in the field of power and energy

## Slide 9: Overview of Project

## Slide 10: Summary
Need to reduce energy costs in two buildings using Demand Side Management
  Dirac and Shores
Costs of implementation must be offset by energy costs

## Slide 11: Demand Side Management (DSM)
Active response to peaking demands
Utilities have traditionally used peaking power plants to meet rising demand
  Costly
DSM entails energy efficiency and response for rising demand
Customers may curtail use during peak times for reduced energy costs
  Tariffs must be analyzed to determine best approach

## Slide 12: DSM Continued…

## Slide 13: Tariff System for FSU
Tariff has multiple facets that contribute to final cost
  Differs for residential/small commercial and large commercial customers
Two Main Cost Factors for FSU:
  Peak Charge ($11.13 per kW)
  Energy Charge ($0.0185 per kWh)
Benefits for minimum variance of power exist
Notes: Discuss peak charge and how it’s the peak for each month; it is reset each month
Minimum variance benefits are not public knowledge

## Slide 14: DSM Specific to FSU
Need to reduce the peak power value each month
  Average peak each month is around 26 MW
  The peak usually occurs in the afternoon
  26000 kW x $11.13 = $289,380
Example
  Reducing peak by 35 kW each month
  35 kW x $11.13 = $389.55 savings each month

## Slide 15: General Building Requirements
Buildings have certain standards that must be considered
  Ventilation
  Climate
  Lighting
Buildings could also have Critical Loads
  Supercomputer that must stay running
  Freezer containing critical items such as blood

## Slide 16: Buildings
Dirac
Critical Load: Super Computer on top Floor
Lighting and HVAC system is the main consumers of energy
Shores
Lighting and HVAC system is the main consumers of energy

## Slide 17: Sponsor Needs and Wants

## Slide 18: What will the Product/System Do?
The Demand Side Management system should be able to:
Cut costs of Energy
While:
Maintaining Critical Loads
Ensuring proper Indoor Environment

## Slide 19: Needs/Wants Comparison
Needs
Safety
Reduce utility bill
New System’s costs offset by energy savings
Ensure critical loads are not effected
Maintain the required ventilation, climate, and lighting standards
Wants
Imagine possible new solutions for Demand Side Management
Design new schemes to control the loads while ensuring all needs are met
Possibly implement other energy sources such as solar
Involve the faculty, staff, and students in reducing utility costs

## Slide 20: Main Deliverables
DEL-001: Use existing Siemens system to implement Demand Side Management design and reduce energy costs in buildings assigned. The new system’s cost should be negated by the energy savings.

## Slide 21: Pairwise Comparison

## Slide 22: Functional Requirements

## Slide 23: Engineering Requirements
REQF-01: System should be able to save the university money through implementation of Demand Side Management (DSM) System
REQF-02: DSM System should perform real-time analysis of data points and respond to data accordingly
REQF-03: Track data in database for future economic analysis

## Slide 24: Constraints
REQC-01: DSM System should be able to interface with the current Siemens Control system operating through main utility plant
REQC-02: System should maintain a steady temperature, ventilation and critical loads as proscribed by administration
REQC-03 System should connect with other legacy hardware such as non-variable motors and older power meters

## Slide 25: Other Requirements
Standards Compliance: All electrical systems should comply with the National Electric Code (NEC) 70
Operating Environment:
  RECO-01 Equipment should weather and tamper-resistant – air handlers are often placed outside where they could possibly be accessed by intruders
  RECO-02 As mentioned previously, ambient air, humidity, and ventilation levels must be maintained.
Usability Requirements: Design must be able to be altered/replicated by FSU control engineers.

## Slide 26: Assumptions and Limitations
Assumptions
  Current Siemens sensor systems are accurate
  Utility rate plan will stay the same or similar
  Data points will provide enough information to forecast potential economic benefits
Limitations
  Not promising a design that can be easily ported to other buildings

## Slide 27: Prioritization Analysis of Requirements
Maintain standards outlined by NEC
Maintain Quality-of-life standards outlined by FSU administration/building codes
Maintain Critical loads
Reduce money spent by university on electricity
Maintain interface with current Siemens system

## Slide 28: Risk Assessment

## Slide 29: Potential Risks
Risk of electrical shock when modifying existing equipment
Fire hazard if equipment is incorrectly installed
Damage to critical loads if their operating environment is not maintained
High CO2 levels could be introduced if airflow is not maintained

## Slide 30: Mitigation Strategies
Use licensed electrical contractors to install or modify equipment
Ensure all changes comply with safety standards in the National Electric Code
Limit changes affecting critical load environments
  Should not have major impact on temperature, humidity, etc.
Use CO2 sensors in individual rooms or return ducts
  Monitor CO2 levels and alert system if they are too high

## Slide 31: Budget, Scheduling and Testing Plan

## Slide 32: Budget
FSU has ~$1,000,000 for energy improvement
set aside every year
Concrete plan not yet designed, but some components we were considering:
  LED lights to replace fluorescent bulbs ~$20 for a 4ft tube light, cheaper in bulk
  Variable speed water pump : ~$300-$1000
  Solar panels for Mendenhall building: ~$200 for 300W panel

## Slide 33
 | Project 12: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  | Fall 2014 |  |  | Plan |  |  | Actual |  |  | % Complete (beyond plan) |  |  |  |  |  | 
 |  |  |  |  |  |  |  |  |  |  | % Complete |  |  | Actual (beyond plan) |  |  |  |  |  |  |  |  | 
 | Demand-Side Management |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  | PLAN | PLAN | ACTUAL | ACTUAL | PERCENT |  | Aug |  | Sept |  |  |  |  | Oct |  |  |  | Nov |  |  |  | Dec
 | ACTIVITY | START | DURATION | START | DURATION | COMPLETE |  | Weeks |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 13 |  | 14
 | Milestone #1 - Wants and Needs | 3 | 3 | 3 | 5 | 100% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Milestone #2: Project Proposal | 6 | 3 |  |  | 0% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Milestone #3: System-Level Design | 9 | 4 |  |  | 0% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Research Demand-Side Management | 3 | 5 | 4 | 4 | 50% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Develop an implementation plan | 6 | 4 | 6 |  | 10% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Model plan where necessary | 10 | 2 |  |  | 0% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 34: Testing Plan
1.Research demand-side management technologies and techniques
2. Use drawings and information provided by primary sponsor to evaluate potential power savings in Shores and Dirac
3. Develop a theoretical model of design for power management
4. Implement simulation of theoretical design
5. Review simulations with our sponsors and faculty advisor to determine potential energy savings and risks associated with implementing our changes
6. Implement changes, monitor impact
7. Make changes where necessary, repeat steps 3-6 as needed.

## Slide 35: Conclusion

## Slide 36
Goals
  Reduce costs related to energy consumption while maintaining critical loads
Constraints
  Integrate with the Siemens system while navigating rate tariffs
End Product
  Implement system that meets the goals and follows the constraints
The End