## Slide 1: Senior Design Team 20 Solar Powered Phase-Change Compressor
Addison Bender
Jesse Diaz
Emmanuel Ferdinand
Sponsor: Grant Peacock
Faculty Advisor: Dr. Ordonez
Spring Midterm Presentation
February 14th, 2013

## Slide 2: Project Scope
Refrigerant Compressor for a small A/C unit.
Heat removal: 5000 BTU/hr
Driven by steam
Potential steam source: concentrating solar collector

## Slide 3: Overview
Designing Compressor Unit
Use electric boiler steam supply
Interface with closed loop refrigerant cycle.

## Slide 4: Pressure Vessel Design
Machined from cylindrical billet.
  Simpler process than welding multiple pieces together.
Steel chosen over aluminum
  Less thermal expansion
  Comparable cost
  Disadvantage: longer machining time

## Slide 5: Prototype Testing
Simulates solar powered steam generation system
  Easily controlled
  Adjusts to multiple fittings
Supervision under John Dascomb
Testing will take place at the Florida State University ESC

## Slide 6: Prototype Testing
5000 BTU a/c window unit
Standard a/c refrigerant maintenance
  Flushing refrigerant
  Replace compressor (fittings)
  Recharge refrigerant
Calibration

## Slide 7: Valve Overview
Solenoid Valve:
Controls the flow of steam
Operates at 1 Hz
Check Valve:
Control the flow of R-134a
One directional flow

## Slide 8: Design Revision
Release valve will be implemented
High temperature tubing will be attached
Decreases cost and complexity of design
Old Design
New Design

## Slide 9: Control Circuit
Electronic Components:
Arduino R3 Uno Microcontroller
5V Solid State Relay issue
Solenoid Valve
120 V AC Power Supply

## Slide 10: Scheduling Update

## Slide 11: Future Plans
Work on control circuit with the advisement of Dr. Chuy
Select a suitable data acquisition system for determining pressure readings
Acquire A/C unit to determine fittings for connection

## Slide 12: Expenditures
Microcontroller | $ 35
Solenoid Valve | $ 312
Silicone Elastomer | $ 114
Steel Billet | $ 156
Check Valves | $ 106
Globe Valve | $ 12
Relief Valve | $144
------------------------------- | -------------------------------
Expenditures to date: | $ 879

## Slide 13: Projected Expenditures
Pressure Transducers | $ 330
R134a Cylinder | $ 125
R134a Manifold | $ 175
DAQ | $ 200
AC Unit | $ 50
------------------------------- | ----------------------------
Projected Future Expenditures: | $ 880
Remaining: $241

## Slide 14: Questions?

## Slide 15: Steam Generation
Based on John Dascomb’s concentrating solar collector
Solar collector must have an Area = 17.75
System will generate the required > 770 kPa