## Slide 1: Shear Stress Sensor Using Cholesteric Crystals
Group #3
Group Members
Matthew Carmichael, FSU
Tyler Elsey, FSU
Luiz Paes, UNIFEI
Graduate Assistant
Matthew Worden
Sponsors
Dr. Dickinson , Eglin AFRL
Dr. Oates, FAMU & FSU COE
2/20/2013
eng.fsu.edu/me/senior_design/2013/team3

## Slide 2: OVERVIEW
Project Scope and Objectives
Theory
Technical Approach
Final Design
Programming Needed
Schedule

## Slide 3: Need Statement & Project Scope
Need Statement
  Need in the market for a shear stress sensor that can be used outside the lab
Project Scope
  Create Testing Apparatus
  Determine if cholesteric crystals are able to measure shear stress

## Slide 4: Cholesteric Crystals
Originally discovered in cholesterol
Helical Structure
Pitch varies with the boundary conditions
    i.e. electricity or forces
  Liquid Crystals made easily from 3 powders
  Polymer form made through many time intensive processes

## Slide 5: Technical Approach
Assume no slip condition for liquid crystal testing
BluLoop Fiber Optic Light
Spectrometer:
  200-1100 nm
  2048 pixels
Linear Servo Motor:
  1 step = 1/64”
Load cell:
  10N
Chart: Intensity Vs. Wavelength w/ & w/o Liquid Crystals

## Slide 6: Final Design

## Slide 7: Programming
LabView
  Correlation between load and voltage with load cell
  Load cell, spectrometer need to start at the same time – record information
MATLAB
  Create method to review time resolved data
  Filter spectrum from reference spectrum
  Find equation that relates load to wavelength

## Slide 8: Labview

## Slide 9: Matlab

## Slide 10: Simulation
– FEM (Finite Element Method)
Pressure - Sine Load
-0.5 sin ((4π/L)*x) Pa - top
0.5 sin ((4π/L)*x) Pa - bottom
x
y
Stress YY (Pa)
Y Coordinate (m)
X Coordinate (m)
Pressure Error – Sigma YY
X Coordinate (m)
Error (Pa)

## Slide 11: Simulation
– FEM (Finite Element Method)
Pressure - Sine Load
-0.5 sin ((4π/c)*x) Pa - top
x
y
Thin film - L=2000 (c)
Stress YY (Pa)
Y Coordinate (m)
X Coordinate (m)

## Slide 12: Simulation
– FEM (Finite Element Method)
Shear - Cosine Load
-0.5 cos ((4π/L)*x) Pa - top
0.5 cos ((4π/L)*x) Pa - bottom
x
y
Stress XY (Pa)
Y Coordinate (m)
X Coordinate (m)
Pressure Error – Sigma XY
X Coordinate (m)
Error (Pa)

## Slide 13: Simulation
– FEM (Finite Element Method)
Shear - Cosine Load
-0.5 cos ((4π/c)*x) Pa - top
x
y
Thin film - L=2000 (c)
Stress XY (Pa)
Y Coordinate (m)
X Coordinate (m)

## Slide 14: Schedule

## Slide 15: Summary
-Shear stress device measurement was fabricated
-Labview and MATLAB interface is ready for experiments
-Testing samples have been made
-Next steps
Testing and analysis
Vary testing conditions and test polymer form of Cholesteric Crystals

## Slide 16: Questions/Comments