## Slide 1: ESD- Vision Impaired Technology
Team 522

## Slide 2
Ethan Saffer
David Alicea
Field/Test Engineer and Quality Control
Daa16@my.fsu.edu
Nicolas Garcia
Webmaster, Design Engineer and Resource Manager
Ng16m@my.fsu.edu
Ethan Saffer
Systems and Design
Engineer
Ers16c@my.fsu.edu
Team 522: Vision Impaired Technology
Madison Jaffe​
Project Manager and Manufacturing/Controls Engineer
Msj16d@my.fsu.edu

## Slide 3: Advisors
Michael Devine
Florida State University
Jim Moran College of Entrepreneurship
Jerris Hooker
FAMU-FSU College of Engineering
Department of Electrical Engineering
Ethan Saffer
Shayne McConomy​
FAMU-FSU College of Engineering​
Department of Mechanical Engineering​

## Slide 4: Summary
Ethan Saffer
PROBLEM:

## Slide 5: Summary
Ethan Saffer
PROBLEM:
The visually impaired have limited aid in current society. This leaves many of them dependent on others and unemployed.

## Slide 6: Summary
Ethan Saffer
PROBLEM:
The visually impaired have limited aid in current society. This leaves many of them dependent on others and unemployed.
Current resources on the market are not affordable or effective for the average income of visually impaired individuals.

## Slide 7: Summary
Ethan Saffer
PROBLEM:
The visually impaired have limited aid in current society. This leaves many of them dependent on others and unemployed.
Current resources on the market are not affordable or effective for the average income of visually impaired individuals.

## Slide 8: Summary
Ethan Saffer
PROBLEM:
The visually impaired have limited aid in current society. This leaves many of them dependent on others and unemployed.
Current resources on the market are not affordable or effective for the average income of visually impaired individuals.
SOLUTION:
Our product attaches to the standard white cane.

## Slide 9: Summary
Ethan Saffer
PROBLEM:
The visually impaired have limited aid in current society. This leaves many of them dependent on others and unemployed.
Current resources on the market are not affordable or effective for the average income of visually impaired individuals.
SOLUTION:
Our product attaches to the standard white cane.
HapTac allows for the visually impaired to sense and scan objects in front of them.

## Slide 10: Summary
Ethan Saffer
PROBLEM:
The visually impaired have limited aid in current society. This leaves many of them dependent on others and unemployed.
Current resources on the market are not affordable or effective for the average income of visually impaired individuals.
SOLUTION:
Our product attaches to the standard white cane.
HapTac allows for the visually impaired to sense and scan objects in front of them.
Device is designed to feel organic and comfortable for prolonged uses.

## Slide 11
Functions
Ethan Saffer

## Slide 12
The ultrasonic sensors will sense an object up to 3 meters away.
Sense
Functions
Ethan Saffer

## Slide 13
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
The ultrasonic sensors will sense an object up to 3 meters away.
Sense
Determine
Functions
Ethan Saffer

## Slide 14
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
The ultrasonic sensors will sense an object up to 3 meters away.
Haptic feedback will alert the user with multiple motors with intensity based on distance.
Sense
Determine
Alert
Functions
Ethan Saffer

## Slide 15
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
The camera can be activated to scan the desired products.
The ultrasonic sensors will sense an object up to 3 meters away.
Haptic feedback will alert the user with multiple motors with intensity based on distance.
Sense
Determine
Alert
Scan
Functions
Ethan Saffer

## Slide 16
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
The camera can be activated to scan the desired products.
The ultrasonic sensors will sense an object up to 3 meters away.
Up to 100 stored products will be in the memory of the Raspberry Pi to identify the product.
Haptic feedback will alert the user with multiple motors with intensity based on distance.
Sense
Determine
Alert
Scan
Identify
Functions
Ethan Saffer

## Slide 17
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
The camera can be activated to scan the desired products.
The ultrasonic sensors will sense an object up to 3 meters away.
Up to 100 stored products will be in the memory of the Raspberry Pi to identify the product.
Haptic feedback will alert the user with multiple motors with intensity based on distance.
Haptic feedback will
notify the user when the product has been identified and a speaker will relay the product name.
Sense
Determine
Alert
Scan
Identify
Notify
Functions
Ethan Saffer

## Slide 18
45°
45°* 45°*
Side View:
Top View:
Nicolas Garcia
3 feet
*Based on Standard Technique
Current Situation

## Slide 19
45°
Side View:
Top View:
Nicolas Garcia
5°
12 feet
3 feet
15° 15°
45°* 45°*
*Based on Standard Technique
Situation Using HapTac

## Slide 20
Housing
Battery Pack
GrovePi+
Raspberry Pi 4
Vibration Motors (3)
Camera
Ultrasonic Sensor
Nicolas Garcia
Housing: First Edition

## Slide 21
Scan
The camera can be activated to scan the desired products.
Sense
The ultrasonic sensor will sense an object up to 3 meters away.
Determine
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
Notify
Alert
Haptic feedback will alert the user with multiple motors with intensity based on distance.
Identify
Scan
The camera can be activated to scan the desired products.
Sense
The ultrasonic sensor will sense an object up to 3 meters away.
Determine
The Raspberry Pi will interpret the sensed information to calculate the proximity to an object.
Notify
Alert
Haptic feedback will alert the user with multiple motors with intensity based on distance.
Identify
Sense
Sense
Nicolas Garcia
Housing: First Edition

## Slide 22
Nicolas Garcia
Housing: Second Edition

## Slide 23
The handle is too wide, the user's fingers are not able to completely wrap around it.
The groove for the thumb is placed higher than what is comfortable
Nicolas Garcia
Housing Concerns: Handle

## Slide 24
Nicolas Garcia
Made shorter
Slimmer profile
Flat bottom for efficient printing
Opening for button at thumb groove
  Enables camera use
Housing Concerns: Addressed

## Slide 25: Housing Concerns: Addressed
Megapascals (MPa)
The orange shows where the stress is highest.
Nicolas Garcia

## Slide 26: Housing Concerns – Main Housing
Madison Jaffe
Too much excess room
The ultrasonic sensors cannot be properly mounted
Warping is taking place throughout the duration of the print
*Battery and speaker not pictured

## Slide 27: Housing
Madison Jaffe

## Slide 28: Housing Validation
Madison Jaffe

## Slide 29: Raspberry Pi and Grove Parts
Raspberry Pi acts as our controller
Grove Pi is the attachment board that makes the Grove parts accessible
Raspberry Pi Camera is used to identify items
Ultrasonic sensors and vibration motors detect objects and notify the user of their presence
David Alicea

## Slide 30: Sensor Validation
2.54 cm (1 inch)
30.48 cm (12 Inches)
7.62 cm (3 Inches)
David Alicea

## Slide 31: Raspberry Pi: Sensors and Motors Code
Motor is turned off
Motor is turned on
and off at 0.5 second intervals
Motor is turned on
David Alicea
Sensors are turned on
Distance <= 100
Yes
100 < Distance <= 200
Yes
No
200 < Distance <= 300
No
Yes
No
Distance > 300
Yes
Object distance measured (cm)
Motor is turned on
and off at 1 second intervals

## Slide 32: Camera Identification - AlexNet
Nicolas Garcia

## Slide 33: Team Website
Nicolas Garcia

## Slide 34: InNOLEvation Challenge
Competed in the InNOLEvation Competition
Selected as a finalist
  Received $500 for the company
Ethan Saffer
Unit Price: $299
Yearly Projections

## Slide 35: Lessons Learned
The front of the main housing has a downward bend.
Corners are warped, altering geometry
Madison Jaffe
3D Printing is good for quick models
Tends to warp significantly without correct parameters

## Slide 36
The battery served as the hardest object to design around.
  It is the largest and heaviest component of our assembly
New iterations of housing were made to make it as compact as possible.
Lessons Learned
Madison Jaffe

## Slide 37: Lessons Learned
Proper calibration of sensors and motors are pivotal for their accurate usage.
Here the sensor should read 7.6cm, rounded between 7 and 8.
  The error propagates further as the distance increases
David Alicea
7.6 Centimeters

## Slide 38: Lessons Learned
Ultrasonic sensor is directed forward and does not support large changes in angle or tilt.
O
B
J
E
C
T
O
B
J
E
C
T
David Alicea

## Slide 39: Incomplete Work
Function | Target | Complete
Alert of Elevation* | 0.25 to 12 inches | Yes
Determine Location* | Margin of error of at most 16 feet | No
Alert of Physical Object* | 65 inches | Yes
Identify Possible Threats* | Up to 60 miles per hour | Yes
Access Emergency Contact | 15 seconds | No
Interpret Sensory Information* | 7 seconds | Yes
Store Frequent Tasks | 1 GB | Yes
Interface with Pre-Existing Skills | 70% | Yes*
Compete within Market | 20% | Yes
Remain Lightweight | <5.1 lb | Yes
Remain Discrete | 70% User Approval | N/A
Ethan Saffer

## Slide 40: Incomplete Work
We have most of the major functions of our project in separate stand-alone conditions
  We need to integrate them into the assembled final product.
Still waiting on parts to be shipped and added to final housing design.
Integrated Final Design
Image Recognition
Variable motors & sensors
Final Housing
Haptic Feedback Location
Ethan Saffer

## Slide 41: Summary
Overall, the project is successful in terms of a minimum viable prototype.
A few ideas needed to be dismissed due to scope creep.
Had to order cheaper parts to construct a prototype that would be cost efficient to market and sell.
  Ultimately affected the accuracy of the device.
Ethan Saffer

## Slide 42: Reference
Ethan Saffer
[1] Ebben, J. M., PhD. (n.d.). Wrists at risk: Awkward postures to avoid. Retrieved February 18, 2021, from https://www.iacindustries.com/get-started/ergonomics/wrists-at-risk.asp
[2] González, A., Salgado, D., García Moruno, L., & Sánchez Ríos, A. (2018). An Ergonomic Customized-Tool Handle Design for Precision Tools using Additive Manufacturing: A Case Study. Applied Sciences, 8(7), 1200. doi:10.3390/app8071200
[3] McConomy, S. (2020, November 11). Engineering Characteristics, Functions, Targets, and Metric. FAMU-FSU College of Engineering.
[4] National Federation of The Blind. https://www.nfb.org/resources/blindness-statistics
[5] Queen, K. (2016, June). 7 Ways to Make Communities More Livable for People With Vision or Hearing Impairments. AARP.
[6] Rosen, S. (n.d.). LONG CANE TECHNIQUES. Retrieved March 03, 2021, from https://tech.aph.org/sbs/04_sbs_lc_study.html
[7] Wang, C., & Cai, D. (2020). Hand tool handle size and shape determination based on hand measurements using a contour gauge. Human Factors and Ergonomics in Manufacturing &amp; Service Industries, 30(5), 349-364. doi:10.1002/hfm.20846

## Slide 43
Ethan Saffer
David Alicea
Field/Test Engineer and Quality Control
Daa16@my.fsu.edu
Nicolas Garcia
Webmaster, Design Engineer and Resource Manager
Ng16m@my.fsu.edu
Ethan Saffer
Systems and Design
Engineer
Ers16c@my.fsu.edu
Team 522: Vision Impaired Technology
Madison Jaffe​
Project Manager and Manufacturing/Controls Engineer
Msj16d@my.fsu.edu

## Slide 44
APPENDIX

## Slide 45: Housing
Original housing includes:
  1 Ultrasonic sensor
  3 Vibration Motors
  Raspberry Pi / Grove Pi+
  Accelerometer & Gyroscope
  Valve clamp
Ethan Saffer

## Slide 46: Housing Validation
Megapascals (MPa)
The orange shows where the stress is highest.
Madison Jaffe

## Slide 47
Ethan Saffer
Housing

## Slide 48: Key Goals and Assumptions
Key Goals:
  Aids the visually impaired in daily activities.
  Assist people who are visually impaired to become more active.
  Keep the visually impaired safe while executing relatively complex tasks.
Assumptions:
  Users are unaware of objects in new surroundings.
  Users have undergone Orientation and Mobility training/rehabilitation.
  The visually impaired are not fully comfortable in our current society.
Ethan Saffer

## Slide 49: Interpreted Customer Needs
Ethan Saffer
1. Helps Avoid Ground Irregularities
2. Allows for Location Awareness
3. Recognizes Surrounding Objects
4. Notify Emergency Contacts
5. Intuitive with O & M Training
6. Identifies and Reads Text
7. Priced for Low-Income Households

## Slide 50: Critical Functions
Alert of Elevation
Determine Location
Alert of Physical Object
Identify Possible Threats
Interpret Sensory Information
Ethan Saffer

## Slide 51: Raspberry Pi: Sensors and Motors Code
David Alicea

## Slide 53: Yearly Projections
Madison Jaffe
3 Year Sales Projection
Projected Revenue
  $594,631
Projected Profit
  $184,543
5 Year Sales Projection
Projected Revenue
  $1,807,101
Projected Profit
  $250,639
35% Growth from Year 3

## Slide 54: Housing
Our previous housing design was failing at the cane attachment.
The new design is more capable of handling the stresses that will act on the housing.
Nicolas Garcia

## Slide 55: Housing Concerns: Warping
The front of the main housing has a downward bend.
Corners are warped, altering geometry

## Slide 56: Medium-High Fidelity Concepts
Ethan Saffer
GPS Watch:
Haptic Feedback cane:
Smart Glasses:
Audio Feedback cane:
GPS app:
Pin Matrix Haptics:
Sensor Watch:
Sensor Pin Chip:

## Slide 57: Markets
Ethan Saffer
  Primary market: People with severe visual impairment, rehabilitation and treatment centers.
  Secondary market: Autonomous Systems and State-Local Departments of Transportation.

## Slide 58: Final Selection
Our final potential designs were ranked:
  Haptic Smart Cane
  Sensor Pin Chip
  Sensor Watch
#2
Sensor Pin Chip
#1
Haptic Smart Cane
#3
Sensor Watch
Ethan Saffer

## Slide 59
White Cane
Sunu Band
WeWalk
https://athome.medline.com/en/medline-white-cane-for-blind-vision-impaired-1ct-mdswhtcane
https://www.sunu.com/es/index
https://webrazzi.com/en/2020/05/01/wewalk-investment-750k/
Ethan Saffer
Competitors

## Slide 60: WeWalk
Similar product that incorporates ultrasonic sensors in the format of a smart-cane.
Uses infrared sensors to detect ground irregularities.
Overload of information.
Ethan Saffer

## Slide 61: Competitor Comparison
White Cane | Sunu Band | WeWalk | Our Solution
Senses irregularities below the waist Standard aid for visually impaired | Senses objects nearby Set position on wrist, can discomfort user to "aim" | Infrared Sensor for floor irregularities Ultrasonic sensor for object detection | Senses ground irregularties Notifies user

## Slide 62: Device Operational Time
Ultrasonic Sensor
8 mA
Camera
Up to 800 mA
Vibration Motor
58 mA average
100 mA max
Raspberry Pi
3,000 mA
Power Supply
20,000 mAh
Theoretical (Maximum Current Draw) Operation Time: 4.87 Hours
4 hours, 52 minutes and 12 seconds
Madison Jaffe

## Slide 63: Targets and Metrics
Function | Target | Metric
Alert of Elevation* | 0.25 to 12 inches | Distance
Determine Location* | ~ 16 feet | Distance
Alert of Physical Object* | 65 inches | Distance
Identify Possible Threats* | Up to 60 miles per hour | Velocity
Access Emergency Contact | 15 seconds | Time
Interpret Sensory Information* | 7 seconds | Time
Store Frequent Tasks | 1 GB | Memory Allocation
Interface with Pre-Existing Skills | 70% | User Satisfaction
Compete within Market | 20% | Price Range USD ($)
Remain Lightweight | < 5.1 lb | Weight
Remain Discrete | 70% | User Approval
David Alicea

## Slide 64: Concept Generation Tools
Biomimicry
Crap Shoot
Morphological Chart
David Alicea
McConomy, S. (2020, November 11). Engineering Characteristics, Functions, Targets, and Metric. FAMU-FSU College of Engineering.

## Slide 65: Medium Fidelity Concepts
David Alicea
GPS Watch:
- GPS indicate where the user is
- haptic feedback provided through vibration on wrist
Haptic Feedback cane:
- haptic feedback voice-activated
- phone compatible
Smart Glasses:
- sensor and GPS for user location
- Audio feedback through glass-mounted earpiece
Audio Feedback cane:
- audio feedback
- Tactile or voice activation
- Phone compatible
- camera to interpret the environment
GPS app:
- Lidar
- user information through haptics
- computer and GPS track and locate user

## Slide 66: Concept Selection
David Alicea

## Slide 67: Importance Weight Factor
Helps Avoid Ground Irregularities
Recognizes Surrounding Objects
Intuitive with O&M Training
Notify Emergency Contact
Priced for Low-Income Households
Identifies and Reads Text
Allows for Location Detection
Interpreted Customer Needs
Importance Weight Factor
Nicolas Garcia

## Slide 68: Pugh Chart
Nicolas Garcia

## Slide 69: Pugh Chart
Nicolas Garcia

## Slide 70: Second Pugh Chart
Nicolas Garcia

## Slide 71: Second Pugh Chart
Nicolas Garcia

## Slide 72: Analytical Hierarchy Process
Nicolas Garcia
Criteria Comparison Matrix [C] | 
Functions | Criteria Weights{W}
Alert of Elevation | 0.11
Determine Location | 0.13
Interpret Sensory Information | 0.24
Access Emergency Contact | 0.03
Interface With Pre-Existing Skills | 0.11
Store Frequent Tasks | 0.04
Alert of Physical Object | 0.19
Inform User of Possible Threats | 0.15
Sum | 1.00

## Slide 73: Analytical Hierarchy Process
Nicolas Garcia
 | Sensor Pin Chip | Sensor Watch | Haptic Smart Cane
Alert of Elevation | 0.11 | 0.11 | 0.78
Determine Location | 0.16 | 0.19 | 0.66
Interpret Sensory Information | 0.45 | 0.45 | 0.09
Access Emergency Contact | 0.20 | 0.20 | 0.60
Interface with Pre-existing Skills | 0.14 | 0.14 | 0.71
Store Frequent Tasks | 0.33 | 0.33 | 0.33
Alert of a Physical Object | 0.43 | 0.14 | 0.43
Inform User of Possible Threats | 0.33 | 0.33 | 0.33

## Slide 74: Analytical Hierarchy Process
Nicolas Garcia
 | Sensor Pin Chip | Sensor Watch | Haptic Smart Cane
Alert of Elevation | 0.11 | 0.11 | 0.78
Determine Location | 0.16 | 0.19 | 0.66
Interpret Sensory Information | 0.45 | 0.45 | 0.09
Access Emergency Contact | 0.20 | 0.20 | 0.60
Interface with Pre-existing Skills | 0.14 | 0.14 | 0.71
Store Frequent Tasks | 0.33 | 0.33 | 0.33
Alert of a Physical Object | 0.43 | 0.14 | 0.43
Inform User of Possible Threats | 0.33 | 0.33 | 0.33

## Slide 75: Analytical Hierarchy Process
Nicolas Garcia
 | Sensor Pin Chip | Sensor Watch | Haptic Smart Cane
Alert of Elevation | 0.11 | 0.11 | 0.78
Determine Location | 0.16 | 0.19 | 0.66
Interpret Sensory Information | 0.45 | 0.45 | 0.09
Access Emergency Contact | 0.20 | 0.20 | 0.60
Interface with Pre-existing Skills | 0.14 | 0.14 | 0.71
Store Frequent Tasks | 0.33 | 0.33 | 0.33
Alert of a Physical Object | 0.43 | 0.14 | 0.43
Inform User of Possible Threats | 0.33 | 0.33 | 0.33

## Slide 76: Standard Shapes
Summary Box
Text box 1
Outlined Text Box

## Slide 77: Approved Logos

## Slide 78: Color Palette

## Slide 79
Slides to keep:
Intro, Synopsis of VDR1 (Rename), Customer Needs, minimize Concept Gen. & Selection, Final Selection?, What's Next, Last team member slide, Ref.
Slides to add:
Specs of design
BOM/Ordering parts
Our progress in the InNOLEvation challenge?

## Slide 80: APA Tables
Category 1 | Category 2 | Category 3 | Category 4 | Category 5
Item 1 |  |  |  | 
Item 2 |  |  |  | 
Item 3 |  |  |  | 
Item 4 |  |  |  | 
 | Category 2 |  |  | Category 3 | 
Category 1 | subcategory 1 | subcategory 2 |  | subcategory 1 | subcategory 2
Item 1 |  |  |  |  | 
Item 2 |  |  |  |  | 
Item 3 |  |  |  |  | 
Item 4 |  |  |  |  |