## Slide 1: Team 114
Notes: Customize your title slide to be appealing to the audience. This is the first thing they see apply some graphic design elements that may summarize your presentation.

## Slide 2: Team Members
Valeria Aguilera
Ethan Corey
William Crittenden
Matthew Mohammed
Alexandra Nowzamani
Nickolas Wolniewicz

## Slide 3: Sponsor and Advisors
Project Sponsor Tom Vanasse, Director of Engineering, Exactech
Academic Advisor Stephen Arce, Ph.D.
Professor, FAMU – FSU Engineering
Academic Advisor Shayne McConomy, Ph.D.
Professor, FAMU – FSU Engineering

## Slide 4: Project Objective
The objective of this project is to design a stemless reverse shoulder prosthetic to prevent levering out, ease surgical revisions, and formulate a series of tests to appropriately evaluate the design.

## Slide 5: Total Shoulder Replacement
Purpose:
To provide ample fixation, restore range of motion, and ease surgical revisions by replacing portions of the shoulder joint with an artificial implant.

## Slide 6: Types of Implants
Stemless Implant
Stemmed Implant

## Slide 7: Anatomical vs. Reverse
Reverse (rTSA)
Anatomical (aTSA)

## Slide 8: Reverse Stemless Shoulder Implant
Potential Benefits:
Prevents rotator cuff damage.
Better joint stabilization.
Easier revisions.
Decrease of fractures.
Preservation of bone.
Shifts emphasis to deltoid muscle.

## Slide 9: Current Exactech Design

## Slide 10: Concept Selection
House of Quality
Pugh Chart
Revise Concepts
Generated
Concepts

## Slide 11: Concepts
Pugh Chart
Concept 1
Concept 2
Concept 3
Concept 4
Concept 5

## Slide 12: Customer Needs
Prevents lever out
Prevents micromotion (< 150 μm)
No device failure
No bone fracture
Easy revision
Immune response
Ease of implantation
Biologic fixation over time (6-8 weeks post-op)

## Slide 13: Testing Apparatus

## Slide 14: Testing Apparatus cont'd

## Slide 15: Testing Apparatus Procedure
Place implant that is coated in foam on to the designated slot.
Push slider bar against the implant.
Measure force taken to lever out the implant.

## Slide 16: FDA Strategy
There are currently no anatomic stemless reverse implants in the U.S.
Therefore, there is no FDA classification code.
De Novo request.
Use Exactech current design as a predicate device.

## Slide 17: Biocompatibility
Biocompatibility is a large part of getting FDA approval.
Through the De Novo request a clinical study is required along with a 510k submission to receive FDA approval.
Tests for biocompatibility includes areas such as sensitization, cytotoxicity, hemocompatibility, and carcinogenicity.

## Slide 18: Next Steps
Finish 3D printing all the concepts.
Complete building/setup of testing apparatus.
Test and record data.
Choose design to modify for better revisions.
Test using Sawbone.
Print the final design using the SLS machine at Exactech.