## Slide 1: Green Propellant Thrust Stand
Team 517
Jeffrey Hill, Aidan Hoolihan, Ryan Kaczmarczyk,
Nicholas Jensen, Edward Zapert
11/19/2024

## Slide 2: Team Sponsors & Advisors
Nicole Vaughn
Liquid Propulsion Engineer
Alexandre Berger, Ph.D.
Assistant Professor
Shayne McConomy, Ph.D.
Professor
Edward Zapert
Ebony Bland
Aerospace Engineer
Marshall Space Flight Center
Sponsors:
Advisors:

## Slide 3: Team Introductions
Jeffrey Hill
Thermal Fluids Engineer
Ryan Kaczmarczyk
Controls Engineer
Aidan Hoolihan
Materials Engineer
Nicholas Jensen
Manufacturing Engineer
Edward Zapert
Design Engineer
Edward Zapert
Presenter
Presenter
Presenter

## Slide 4: Objective
The objective of this project is to accurately measure the force generated by a 0.1N green propellant thruster with a known uncertainty.
Edward Zapert

## Slide 5: Project Brief
Edward Zapert
Green Propellant Thrust Stand
Accurately Measure 0.1N of Thrust
Create Thorough Documentation
Minimize Uncertainty

## Slide 6: Project Background
Green Propellant
Safer to store and use than Hydrazine
Less expensive than Hydrazine
Requires less fuel onboard
ASCENT
(AF-M315E)
Developed by the Air Force Research Lab
Green propellant primarily used by MSFC
Edward Zapert

## Slide 7: Project Background
GPIM
  Tech demonstration mission
  Altitude control, orbital inclination, orbital lowering
Lunar Flashlight
  First planetary CubeSat mission with "green" propulsion
  Map ice in permanently shadowed regions near the Moon's south pole.
Edward Zapert

## Slide 8: VDR 1 - Summary
Edward Zapert
Interpreted Needs:
- Thrust stand needs to withstand vacuum conditions
- Thrust stand should be able to be carried by one person
- The thrust stand needs to be easy to clean
- Provide accurate measurements
- Thrust stand can be no bigger than 12” x 18” x 12”
- The stand/sensor needs to endure temps up to 1600C
- The stand/sensor needs to endure a pressure of 1e-6 Torr
Elias Hasse
Tripp Lappalainen
Jacob Schmitt
Dr. McConomy
Dr. Berger
Ebony Bland
Nicole Vaughn
Christopher Burnside
Pinning down who has STAKE in our project, and what they require of our final design
NASA-MSFC
FAMU-FSU College of Engineering

## Slide 9: VDR 1 - Summary
Edward Zapert
Interpreting the needs into FUNCTIONS that lay the groundwork for our final design

## Slide 10
Functionalities that Define Success
Critical Subsystems
Thrust Measurement
Calibration
Data Processing
Edward Zapert

## Slide 11
Thrust Sensor
0.1 N Thruster
Measure 0.1N of Thrust
Thrust Measurement Subsystem Target
Functionalities that Define Success
Edward Zapert

## Slide 12
Vacuum Chamber Wall
Functionalities that Define Success
Calibration Subsystem Targets
Calibrates Remotely
Calibrates in a Vacuum
Edward Zapert

## Slide 13
Calibration Subsystem Targets
Calibrates Remotely
Vacuum Chamber Wall
Thrust (N)
Time (s)
Functionalities that Define Success
Calibrates in a Vacuum
Zeros the Sensor
Calibrates Using Known Weights
Calibration
Process
10g
98.1 mN
Edward Zapert

## Slide 14
Data Processing Subsystem Targets
Samples Data at 9260 Hz
Allocates RAM (16128 Bytes)
Functionalities that Define Success
Stores and Processes Information on a Microcontroller
Thrust (N)
Time (s)
Δt
∞
+
-
ARDUINO
Edward Zapert

## Slide 15
Functionalities that Define Success
Calculates Error at 9260 Hz
Allocates RAM (16128 Bytes)
∞
-
ARDUINO
Data Processing Subsystem Targets
Investigates Error Propagation
Performs Error Computation
Edward Zapert
+

## Slide 16
Overall Thrust Stand Target
Functionalities that Define Success
Provide an Overall
Analysis of System Error
Limit to 10% Error
Sensor Choice
Edward Zapert

## Slide 17: Key Functions for Morphological Generation
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Accurately Measure Thrust
Accurately Measures Temperature
Made of Easily Accessible Materials
Calibrates in a Vacuum
Easily Cleanable
Microcontroll-er Accounts for Error
Thruster Orientation
Generic Stand Mechanics

## Slide 18
Aidan Hoolihan
Accurately Measure Thrust
Piezo-electric Sensor
Capacitive Force Sensor
Strain Gauge Load Cells
MEMS-Based Force Sensors
Flow Sensor
Potential Solutions

## Slide 19
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
Thermo-couple
Infrared Sensor
Thermistor
Fiber Optic Sensor
Accurately Measures Temperature
Potential Solutions

## Slide 20
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Easily Accessible Materials
Aluminum
Stainless Steel
Composite
Ceramic
Plastic
Potential Solutions

## Slide 21
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Wired Calibration
Wireless Calibration
Calibrates in a Vacuum
Potential Solutions

## Slide 22
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Smooth, Non-Porous Materials
Modular Design
Protective Coatings
Drainage Features
Easily Cleanable
Potential Solutions

## Slide 23
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Microcontroller Accounts for Error
Error Correcting Software
Feedback Control Systems
Sensor Fusion
Data Validation
Checksum and Cyclic Redundancy Check
Potential Solutions

## Slide 24
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Vertically Mounted
Horizontal Mounted
Thruster Orientation
Potential Solutions

## Slide 25
Aidan Hoolihan
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Generic Stand Mechanics
Horizontal
Vertical
Seesaw
Torsional
Beam Deflection
Potential Solutions

## Slide 26: High Fidelity Selection
Nicholas Jensen
Concept 1
Concept 3
Concept 2

## Slide 27: Concept #1
Nicholas Jensen
Material
Stainless Steel
Stand Type
Vertical
Force Measurement
Piezoelectric

## Slide 28: Concept #2
Nicholas Jensen
Material
Aluminum
Stand Type
Seesaw
Force Measurement
Strain Gauge

## Slide 29: Concept #3
Nicholas Jensen
Material
Stainless Steel/Aluminum
Stand Type
Seesaw
Force Measurement
Strain Gauge

## Slide 30: House of Quality
Nicholas Jensen
30
Thrust Sensor Uncertainty
2
1
Sampling/ Processing Rate
5
Connections w/ Terminal Block
4
RAM Allocation
3
Maximum Thrust Allowed
TOP 5
Engineering Characteristics

## Slide 31: Pugh Chart #1
Nicholas Jensen
DATUM:
NASA-MSFC
Current Thrust Stand
Concept #1
Concept #4
​
​
​
​
​
​
​
Concept #6
​
​
​
​
​
​
​
Concept #7
​
​
​
​
​
​
​
Concept #8
​
​
​
​
​
​
​
Concept #5​
​
​
​
​
​
​
​
Concept #2
Concept #3
Piezo
Stainless
Vertical
Piezo
Composite
Vertical
Strain
Composite
Seesaw
Capacitive
Stainless
Torsional
Strain
Stainless
Horizontal
31

## Slide 32
Nicholas Jensen
DATUM:
Concept #1
Concept #2
Concept #5
Concept #6
Piezo
Composite
Vertical
Strain
Composite
Seesaw
Pugh Chart #2

## Slide 33: Final Selection
Nicholas Jensen
Calibration
Wired
Features
Modular Design
Drainage
Smooth Surfaces
Temperature Sensor
Thermocouple

## Slide 34: Final Selection Evolution
Nicholas Jensen
Additions
Calibration Loading Mechanism
Modular Flame Diversion
Removable Tray
Modifications
Minimalistic Stand
Terminal Blocks
Vibrational Damping

## Slide 35: Future Work
NASA-MSFC Visit
Sensor Selection
Material Research
Spring Planning
Aidan Hoolihan

## Slide 36: Quick Recap
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE
Aidan Hoolihan
Concept Generation
Key Functions
Concept Selection
House of Quality
Thrust Measurement
Core Functionality
Function Solutions
Calibration
Error Analysis
Pugh Chart
Final Selection & Evolution

## Slide 37: References
https://www.rubicon.space/product/1/0-1n-ht-thruster
https://www.nasa.gov/missions/tech-demonstration/nasas-green-propellant-infusion-mission-nears-completion/
https://www.nasa.gov/missions/tech-demonstration/new-green-propellants-complete-milestones/
https://www.jpl.nasa.gov/missions/lunar-flashlight/
https://www.nasa.gov/missions/tech-demonstration/green-propellant-infusion-mission-gpim-overview/
Aidan Hoolihan

## Slide 38: Quick Recap
Aidan Hoolihan
Accurate
Manufacturable
Remote Calibration
Scalable
Cleanable
Visibility
Green Propellant Thrust Stand
    Thrust
    Temperature
    Pressure
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE

## Slide 39: Key Goals
Accurate
Manufacturable
Remote Calibration
Scalable
Cleanable
Visibility
Notes: Accurately measure 0.1N of thrust
Manufacturability by a university
Perform a remote, in-place calibration in a vacuum environment

## Slide 40: Back Up Slides

## Slide 41: Slide Headline
Try to keep text at 16 pt minimum.
Try to put as few words as possible on the slide if you’re using for a presentation.
Mix and match the backgrounds as shown in this template or just use one throughout.
You can put department/unit logos in slide master at Horizontal 0.89” Vertical 6.44” From top left corner

## Slide 42: Font Check
This is 10-point
This is 15–point Times
This is 20–point
This is 25–point
This is 30–point
This is 35–point
This is 40–point
This is 50–point
This is 60–point
This is 72–point
Notes: Use at least 20-point font in Room A105, B134, and B136
Use at least 25-point font in Room B135

## Slide 43: Assumptions
Vacuum Pressure (10-7 Torr < p < 10-4 Torr)
Green Propellant (ASCENT)
12in L X 18in W X 12in H Volume
Remote Initiation
Thruster Temperature (Up to 1600°C)
Notes: Operate under a vacuum
Green propellant used
Thrust sensor force endurance forces similar to thrust
Labview?
Visible from view ports
Spatial constraint
Remote ability
Maybe add about temp up to 1600 C

## Slide 44: College of Engineering Color Palette
Fang
Orange
RGB: 238, 118, 36
Hex: #EE7624
CMYK:2, 66, 99, 0
1 2 3 4
1 2 3 4
White
Pantone: PMS 000C
RGB: 255, 255, 255
Hex: #FFFFFF
CMYK: 0, 0, 0, 0
1 2 3 4
Black
Pantone: Black C
RGB: 0, 0, 0
Hex: #000000
CMYK:0, 0, 0, 100
Garnet
Pantone: PMS 195 C
RGB: 120, 47, 64
Hex: #782F40
CMYK:19, 90, 50, 55
1 2 3 4
Notes: Avoid 75% Black in B135

## Slide 45: Accent Color Palette
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
1 2 3 4
Turquoise
RGB: 64, 224, 208
Hex: #40E0D0
CMYK:
1 2 3 4
American Orange
RGB: 255, 139, 0
Hex: #FF8B00
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Asagi-iro
RGB: 72, 146, 155
Hex: #48929b
CMYK:
1 2 3 4
Gainsboro
RGB: 220, 220, 220
Hex: #DCDCDC
CMYK:
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Imperial
RGB: 104, 40, 96
Hex: #682860
CMYK:
1 2 3 4
1 2 3 4
Tardis Blue
RGB: 0, 59, 111
Hex: #003B6F
CMYK:
Rubine Red
RGB: 206, 0, 88
Hex: #CE0058
CMYK: 0, 100, 43, 12
1 2 3 4
1 2 3 4
Corn
RGB: 251, 236, 93
Hex: #FBEC5D
CMYK:
1 2 3 4
Timberwolf
RGB: 219, 215, 210
Hex: #DBD7D2
CMYK:
Notes: Remove American orange add hyperlink grey
Make corn the last for b135
All work in 134 imperial move later
Tardis doesn’t work in b136

## Slide 46
https://color.adobe.com/create/color-wheel
Analogous
F7AB19
D67F15
EE7624
D64615
F73119
Monochromatic
6E3610
F0A16C
EE7624
6E4931
BASB1C
Triad
A14508
4BED3B
EE7624
250CED
2010A1
Complementary
FF8C40
EE7624
0098A1
24E2ED
A1470C
Split Complementary
28A164
2FED8D
EE7624
0848A1
1871ED
Double Split Complementary
3BED93
EE7624
0C6AED
ED2F18
EDAC2F
Square
C7ED3B
EE7624
0CE1ED
A418ED
ED660C
Compound
87724A
EE7624
60EFCF
09BA61
BA7E09
Shades
6E3610
EE7624
FA7625
D46820
AD551A
Notes: These are the variants that work well with Fang Orange. The bolded items show well on the projectors.

## Slide 47
https://color.adobe.com/create/color-wheel
Analogous
85412D
8F3831
782f40
8F3176
792D85
Monochromatic
C44D69
8E626D
782F40
C48796
451B25
Triad
C43959
78743B
782F40
236178
43A2C4
Complementary
C46078
782F40
25C43D
2F783A
C43959
Split Complementary
93C460
577835
782F40
39C49D
297861
Double Split Complementary
5A783B
782F40
237860
6E2978
784435
Square
78683b
782F40
237830
293978
782337
Compound
DEBAAF
782F40
5D8555
70AB32
AB4D32
Shades
C44D69
782F40
853447
5E2532
38161E

## Slide 48
B135 Stage Right
A105
A105
B135 Stage Left
B135
B134, A105
B136

## Slide 49
Border Line
Middle of Slide
Middle of White Space
Border Line
Border Line
Center of White Space
Center of Slide
Border Line
Edge of Branding
Notes: Vertical lines from top down.
Borderline and top of title. (0.5 inch)
Center of Slide (0 inch y-direction for the entire slide)
Center of Design Content (0 inch y-direction considering the title, footer, and negative space)
Bottom of Design Content (0.25 in gap to the footer. 0.75 to the bottom of the screen)
Horizontal lines from left to right
Borderline (0.5 inch)
Center of design content.
Center of slide (0 inch y-direction for the entire slide)
Borderline (0.125 inch all around)

## Slide 50: Markets
Primary Market
NASA-MSFC
Secondary Markets
Universities
CubeSAT Developers
US Military
Private Space Companies
Jeffrey Hill

## Slide 56: Customer Needs
MEASUREMENT | STORAGE | INTERFACING
The plume temperature sensor accurately measures up to 1600 °C | Fits in a 12”L x 18”W x 12”H volume | Interfaces with an Arduino microcontroller and is compatible with LabVIEW
Able to record thrust exerted and pressure in relevant locations | Can withstand a maximum of 1e-6 vacuum pressure without outgassing | All sensors and wiring will terminate at the terminal block for ease of connection and portability
 | Designed to hold a 0.1N thruster and potentially scalable up to a 5N class thruster | Made of materials and parts that can be created with resources and shops that other universities will have access to

## Slide 57: Orange/Garnet
Add name

## Slide 58: Garnet/Orange
Add name
Vacuum Conditions
Remote Calibration
ASCENT
    NASA MSFC
    FAMU-FSU COE