# EML 3015C	Thermal Fluids I							Fall 2002

# Lab Assignment # 4 (Oct. 2, 2002)

T

v

P = 3 MPa

1. 	The figure shows a T-v Diagram for water where a 3 MPa,  constant pressure line is also shown.

    - What is the specific volume of saturated vapor at this pressure; what is the corresponding temperature? Indicate these on the graph.

    - If 10 kg of saturated vapor at 2 MPa condenses to saturated liquid at the same pressure, what is the change in temperature during this process?  What is the change in the total volume?

    - Consider a constant volume process where saturated vapor at 3 MPa condenses to 2 MPa.  Indicate this process on the T-v diagram.

    - What is the mass of the vapor at 2 MPa, if the total mass of the mixture is 10kg ?

    - What is the change in total enthalpy of the system for this process (in part c)?

    - At 3 MPa, estimate the temperature above which water  vapor can be treated as an ideal gas, with an error less than 1%.  Justify your answer.

- A very thin computer chip generates heat at the rate of 10 W and is being cooled by an air stream at T=20C, as shown.  A piece of metal with a conductivity, kmetal =100 W/(m C) and a thickness of 0.1 m is placed above the chip.   The manufacturer specifies that the computer cannot be operated at a temperature above 100C.

- What is the surface temperature (TS) of the metal plate if this condition (TC=100 C) is satisfied?

- What is the convective heat transfer coefficient for this condition?

- If the thermal conductivity of air, kair = 0.03 W/(m C?), what is the temperature gradient, dT/dy, in the air  at the surface of the metal.

- What will be the new surface temperature, TS, and the chip temperature, TC , if the heat transfer coefficient were halved  of the value calculated for part b.

- Suggest two practical ways in which the temperatures are lowered for computer processors.

Assume that heat transfer to the sides of the plate is negligible and the heat transfer is one-dimensional and only in the vertical direction.

Insulator

Metal block

k =100 W/(m C)

Area 0.001 m2

Thickness 0.1 m

Air stream at T=20C

Surface temperature, TS= ?

Computer chip,10 W of power, Chip Temperature, TC=100C

0.1 m

Temperature Distribution in air

Temp gradient

dT/dy = ?

y

x

Mercury,

 = 13600 kg/m3

Open to atmosphere

Air,  = 1 kg/m3

Water

 = 1000 kg/m3

Stopper  Area = 0.1 m2

0.5 m

5 m

0.25 m

0.25 m

A very large pressurized tank contains water and is connected to a U-tube mercury manometer, which is open to atmosphere on one side, as shown.  The tank has a 0.1 m2 hole at the bottom, which is plugged with a stopper.  All other pertinent information is also given in the figure.

  - Determine the gage pressure in the air inside the tank at the surface of water.

  - Find the force needed to hold the stopper in place.

  - If the stopper is removed, calculate the mass flow rate with which the water begins to drain.  For this part you may assume that the pressure at the water surface = 65 kPa, gage.

  - If the tank has a diameter of 3m find the rate at which the water level begins to drop when the plug is removed.

  - If a 20m long., 0.36m diameter, smooth horizontal pipe is attached to the end of the hole at the bottom of the tank and a stopper is placed at the exit of the pipe.  Calculate the mass flow rate when the stopper is removed.  Compare this value to part c, doe is make sense ?