## Sheet1
Test Facility
Component | Vender | Price | Qty. | Total Price | Coments
Heat Exchanger | Vicker's Sales | 400 | 1 | 400 | Cools coolant after heat transfer
Oil Cooler Housing | Tallahassee Welding | 250 | 1 | 250 | Houses both oil cooler units
Circulation Oil Heater and Vessel | Vicker's Sales | 7172 | 1 | 7172 | Is used to reheat oil after it has been cooled be the oil cooler
Oil Pump | Cummins Engine Co. | 800 | 1 | 800
Coolant Pump | Grainger | 517.5 | 1 | 517.5 | Single phase motor, 2HP, Max head = 86ft, 2 inch port, 37 psi, 6180 GPH)
Flow Valve (oil) | OMEGA ENGINEERING | 50 | 1 | 50
Flow Valve (coolant) | OMEGA ENGINEERING | 25 | 1 | 25
Flow Meter (oil) | OMEGA ENGINEERING | 750 | 1 | 750
Oil Flow Meter Display | OMEGA ENGINEERING | 350 | 1 | 350
Flow Meter (coolant) | OMEGA ENGINEERING | 200 | 1 | 200 | Paddle wheel flow sensor
T-Connection for meter | OMEGA ENGINEERING | 80 | 1 | 80 | 1.5" galvanized iron; connects flow meter to system
Coolant Flow Meter Display | OMEGA ENGINEERING | 260 | 1 | 260 | 115 Vac; displays output of coolant flow meter
Pressure Tap | OMEGA ENGINEERING | 255 | 4 | 1020 | 0-50 psig; requires T-connection
Pressure Display | OMEGA ENGINEERING | 325 | 2 | 650 | Used to show output of transducer
Temperature Tap | OMEGA ENGINEERING | 34 | 4 | 136 | Ungrounded junction, stripped leads
Temperature Display | OMEGA ENGINEERING | 245 | 2 | 490 | Temperature indicator
Oil Fliter | Pep Boy's | 10 | 1 | 10
Cooant Filter | Pep Boy's | 10 | 1 | 10
Galivanize Pipe - Oil (1in dia) | LOWE's Hardware | 1.54 | 15 | 23.1 | 1 inch
Galvanized Elbow | LOWE's Hardware | 1.19 | 4 | 4.76 | 1 inch elbow
Galvanized T-Connection | LOWE's Hardware | 1.5 | 2 | 3 | Tees for pressure transducers
Copper Pipe - Coolant (1.5 in dia) | LOWE's Hardware | 2 | 20 | 40 | 1.5 inch
Copper Elbow | LOWE's Hardware | 1.25 | 4 | 5 | 1.5 inch elbow
Copper T-Connection | LOWE's Hardware | 1.5 | 2 | 3 | Tees for pressure transducers
***prices for piping are per foot |  |  |  | 13249.36
Prototypes
Design | Manufacturer | Price | Qty. | Total Price | Comments
Design #1 : Effective Area | Tallahassee Steel and Welding | 1423 | 1 | 1423 | Price includes materials and manufacturing labor
Design #2: Series Flow | Jacksonville Steel Casting | 2512 | 1 | 2512 | Price includes materials and manufacturing labor
***prototypes made of steel
Total Project Price |  |  |  | 17184.36