EML 3015C	Thermal Fluids I	Test #3						fall 1999

Show all necessary steps to receive full credit

1. Consider an idealized Rankine steam power plant as shown.  The steam is superheated inside the boiler to a temperature T3=350C at a constant pressure P2=P3, and then expands isentropically in the high pressure turbine (3-4).  The steam is reheated in the boiler at a lower constant pressure P4=P5 before expanding isentropically through the low pressure turbine (5-6).  The exhausting saturated steam from the low pressure turbine enters the condenser at a constant pressure of P6=P1=0.01 MPa and a quality x6=89% and exits at 100% saturated liquid (x1=0).  Finally, a pump is used to compress isentropically the incompressible liquid to a higher pressure P2 and the cycle repeats.  It is known that the pump produces 4.03 kJ of work per kg of water being compressed.

- Determine the pressure inside the first-stage boiler, P2=P3.

- Determine the pressure inside the second-stage boiler, P4=P5.  (use P3=5 MPa if you do not know how to do part (a).

- Determine the temperature of steam before it enters the second turbine, T5.

- Determine the thermal efficiency of the power plant.

- If the steam mass flow rate is 50 kg/s and the cooling water flow rate is 500 kg/s, what is the temperature of the cooling water exiting from the condenser, Tout=?  Assume the inlet cooling water temperature Tin=20C and the specific heat for water is a constant, Cp=4.2 kJ/(kg K).  Assume no heat losses inside the condenser.

1st turbine

condenser

boiler

2

3

4

5

T

S

2

3

4

5

2nd turbine

1

1

6

Pump

6

Tin=20C

Tout=?

Cooling water

dm/dt=500 kg/s

Cp=4.2 kJ/(kg K)

|  | P (MPa) | T (C) | x (%) | h (kJ/kg) | s (kJ/kg K) | v (m3/kg) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.01 | 45.81 | 0 | 191.83 | NA | 0.00101 |
| 2 | 4 | NA | NA | 195.86 | NA | 0.00101 |
| 3 | 4 | 350 | NA | 3092.5 | 6.5821 | NA |
| 4 | 1 | 179.9 | 100 | 2778.1 | 6.5821 | NA |
| 5 | 1 | 350 | NA | 3157.7 | 7.325 | NA |
| 6 | 0.01 | 45.81 | 89 | 2321.4 | 7.325 | NA |

- Wpump=f(P2-P1)=0.00101(P2-10)=4.03

f determined from table A-6 when P1=0.01 MPa

P2=4000 kPa= 4 MPa

From Table h1=hf=191.83, h2=h1+Wpump=195.86

P2=P3=4 MPa, T3=350C

From A-6, s3=6.5821, h3=3092.5

S3=s4=s4,g=6.5821 from A-5

P4=1 MPa=P5, h4=h4,g=2778.1

- At 6, sf,6=0.6493, sfg,6=7.5009

s6=0.6493+(0.89)(7.5009)=7.325=s5

P5=1 MPa, s5=7.325, T5=350C

h5=3157.7, hf,6=191.83, h6,fg=2392.8

h6=191.83+0.89(2392.8)=2321.4

- =Wnet/Qin=[(h3-h4)+(h5-h6)-Wpump]/[(h3-h2)+(h5-h4)]

=[(3092.5-2778.1)+(3157.7-2321.4)-4.03]/[(3092.5-195.86)(+(3157.7-2778.1)]=35%

- Qout=(dm/dt)steam(h6-h1)=(dm/dt)cooling water Cp(Tout-Tin)

(50)(2321.4-191.83)=(500)(4.2)(Tout-20)

Tout=70.7C

2. An air tank is partitioned into two parts as shown.  One side contains hot air at a temperature of T1=600 K and has a volume (V1) that is 4 times of the volume of the other side V1=4V2.  The smaller side contains cooler air at a temperature of T2=300 K.  Initially, both sides have the same pressure P1=P2=0.1 MPa.  The tank is well-insulated and there is no heat transfer between the tank and its surrounding.  Air can be considered an ideal gas with a constant specific heat Cv=0.717 kJ/(kg K) and a gas constant R=0.287 kJ/(kg K).  The partition is suddenly removed and the air from both sides is allowed to mix thoroughly to reach a final temperature Tf and a final pressure Pf.

- Determine the final temperature Tf.

- Determine the final pressure Pf (You have to show how you determine the value to receive full credit).

- Determine the entropy generation per unit mass during this process (S/m).  (use Tf=450 K if you do not know how to do part(a))

T1=600 K

V1=4V2

P1=0.1 MPa

T2=300 K

P2=0.1 MPa

(a) P1V1=m1RT1, P2V2=m2RT2P1=P2, V1=4V2P1V1P2V2=4=m1RT1m2RT2=m1(600)m2(300), m1=2m2Energy conservation:m1CvT1+m2CvT2=(m1+m2)CvTf2m2T1+m2T2=(3m2)TfTf=13(2T1+T2)=13[(2)(600)+300]=500(K)(b) PfVf=mfRTfPf=mfRTfVf=(3m2)RTf5V2=35m2R(500)V2=m2R(300)V2=m2RT2V2=P2=0.1 MPa

(c) TdS=dU+PdV, dS=mduT+mPTdvdSm=CVdTT+PTdv=CVdTT+RdvvΔSm=dSm=ΔSm1+ΔSm2=CVlnTfT1+Rlnvfv1+CVlnTfT2+Rlnvfv2vf=Vfmf=4V2+V22m2+m2=53V2m2=53v2vf=Vfmf=V1+(V4)m1+(m12)=56V1m1=56v1ΔSm=(0.717)ln500600+0.287ln56+0.717ln500300+Rln53=−0.183+0.513=0.33(kJkgK)

3. A cylinder and piston assembly, containing 1 kg of steam, is undergoing a complete cycle consisting of three reversible processes: 1-2 is an isentropic compression (P1=0.1 MPa, x1=0.138); 2-3 is an isothermal expansion from saturated liquid (x2=0) into saturated vapor (x3=1); and 3-1 will bring the air from state 3  to its initial state 1 through a polytropic process pv2=constant.

- Draw the cycle on the T-s diagram by identifying states 2 and 3 and the corresponding processes

1-2, 2-3 and 3-1.

- Complete the property table.

- Determine individually the work (W12, W23, W31) and the heat transfer (Q12, Q23, Q31) for each process.

T

3

2

State 1

s

|  | P (MPa) | T (C) | x (%) | v (m3/kg) | u (kJ/kg) | s (kJ/kg K) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.1 | 99.63 | 13.8 | 0.2348 | 705.6 | 2.138 |
| 2 | 1 | 179.91 | 0 | 0.001127 | 761.68 | 2.138 |
| 3 | 1 | 179.91 | 100 | 0.1944 | 2583.6 | 6.5865 |

(c) For one unit mass m=i kg: Q12=Tds=0ΔU=U2−U1=Q12−W12=−W12W12=U1−U2=705.6−761.68=−56.08(kJ)W23=23PdV=(1000)(V3−V2)=(1000)(0.1944−0.001127)=193.3(kJ)Q23=W23+(U3−U2)=193.3+(2583.6−761.68)=2015.2(kJ)W31=31PdV=31constantV2dV, where PV2=constant=P1V12=P3V32W31=−constant1V1−1V3=−P1V1+P3V3=(1000)(0.1944)−(100)(0.2348)=170.92(kJ)Q31=W31+(U1−U3)=170.92+(705.6−2583.6)=1707.08(kJ)

Saturation property calculation:

 = f + x (g -f) = f + x fg, where  is any thermodynamic property such as energy, enthalpy, specific volume, etc., and x is the quality.

Energy balance for a closed system:  Q-W=U

Thermal efficiency of a cycle: =Wnet/Qin

Entropy balance analysis: dsdt=QT+m1s1−m2s2+sgenerationEnergy equation: dEdt=dEgdt+Q+E1−E2−dWdt, E=m(h+V22+gz)Tds equation: Tds=du+Pdv=dh-vdPEntropy change of an idea gas:s2−s1=12cv(T)dTT+Rlnv2v1 or s2−s1=12cP(T)dTT−RlnP2P1Isentropic process of an ideal gas:T2T1=v1v2k−1, and T2T1=P2P1k−1kand P2P1=v1v2k, where k=cpcvFor a reversible process:Q=TdS,    W=PdVIdeal gas relation:PV=mRT, Pv=RTU=mu=mCvT, H=mh=mCpT