## Slide 1
Stresses in Soil
Geostatic Stresses
&
Applied Stresses
By
Kamal Tawfiq, Ph.D., P.E.
Fall 2024

## Slide 2
Geostatic Stress
Added Stress
Due to the
weight of the
house
There are two types of lateral stresses in soil.
Total Stress
Effective Stress
Pore Water Pressure

## Slide 3
Geostatic Stresses
Total Stress
Effective Stress
Pore Water Pressure
Total Stress= Effective Stress+ Pore Water Pressure
stotal = seff + u
Bossinisque Equations
Point Load
Line Load
Strip Load
Triangular Load
Circular Load
Rectangular Load
Added Stresses (Point, line, strip, triangular, circular, rectangular)
Stress Distribution in Soils
Influence Charts
Newmark Charts
Stress Bulbs
Westergaard’s Method
(For Pavement)
Approximate Method
1:2 Method
A
By: Kamal Tawfiq, Ph.D., P.E
Added
Stress
Geostatic
Stress
sy
sx
txy

## Slide 4
Point Load
Line Load
Strip Load
Triangular Load
Circular Load
Rectangular Load
Types of Loads

## Slide 5
z

## Slide 6
z

## Slide 7
z
z
DPz
DPz

## Slide 8
z
z
DPz

## Slide 10
σz
σx
σz
σx
τxy
σ2
σ1
σ1
σ2
X/R
Z/R
0.95
1
2
3
4
1
2
3
0
0.90
0.80
0.70
0.30
0.50
0.40
0.10
0.20
0.15
qs
Δσ1/qs
0.60
σz
σx
σz
σx
τxy
Circular Load: (Major Principal Stress)/(Surface Stress)
σz = σ1
σz = σ1
σx = σ2
σx = σ2
θ
Δqs
Z
X
R
Stress Bulbs
Circular Load
9 ft
3 ft
A
qs
σz = σ1
σz = σ1
σx = σ2
σx = σ2

## Slide 11
W. T.
5 ft
12 ft
A
sv
Wc = 0.25
Gs =2.65
e = 0.95
e = 0.95
Gs =2.65
Solved Example:
Given:
A silty sand soil layer with a void ratio, e = 0.95, and Gs = 2.65. The water table at 5 ft from the ground surface. The water content above water table wc =0.25.
Find:
The total stress at point A
Pore Water Pressure at pint A
Effective Stress and Point A
Solution
First let us find the unit weight of soil above and below the W.T.
Unit weight of soil below W.T.
Silty Sand
G. S.

## Slide 12
Geostatic Stresses
&
Stress Distribution in Soils
Stresses from the house
Self-weight of the soil
Or
Geostatic Stress
2: 1 Approximate Method
2
1

## Slide 13
Solved Problems

## Slide 14
1
2
3
4
+
=
Pore Water Pressure
Effective Stress
Total Stress
Static Water
Point | u (psf) | s’ (psf) | s (psf)
1 | 0 | 0 | 0
2 | 0 | 7x112 = 784 | 7x112 = 784
3 | 0 | 7x112+6x110= 1444 | 7x112+6x110=1444
4 | 12x62.4= 748.8 | 7x112+6x110+12(122.7-62.4) =2167.6 | 7x112+6x110+12x122.7=2916.4
Du
s’
s
s’2
s’3
s’4
s2
s3
s4
G.S.
u2
u3
u4
u1
W.T.
stotal = seff + Du
7 ft
6 ft
12 ft
g1= 112 lb/ft3
s’1
s1
g2= 110 lb/ft3
e = 0.76
Gs= 2.7

## Slide 15
7 ft
6 ft
12 ft
1
2
3
4
+
=
Pore Water Pressure
Effective Stress
Total Stress
G.S.
Determine stotal, seffective, and Du for the following cases
Static Water
stotal = seff + Du
gsoil= 112 lb/ft3
Point | u (psf) | s’ (psf) | s (psf)
1 | 0 | 0 | 0
2 | 0 | 7 x 112 = 784 | 7x112=784
3 | 0 | 13x112=1344 | 13x112=1344
4 | 0 | 25x112=2800 | 25x112=2800
Du
s’
s
s’1
s’2
s’3
s’4
s1
s2
s3
s4

## Slide 16
7 ft
6 ft
12 ft
1
2
3
4
+
=
Pore Water Pressure
Effective Stress
Total Stress
Determine stotal, seffective, and Du for the following cases
Static Water
stotal = seff + Du
gsoil= 112 lb/ft3
Point | u (psf) | s’ (psf) | s (psf)
1 | 0 | 0 | 0
2 | 7x62.4= 436.8 | 7x(112-62.4) =347.2 | 7x112=784
3 | 13x62.4= 811.2 | 13x(112-62.4)=644.8 | 13x112=1456
4 | 25x62.4=1560 | 25x(112-62.4)=1240 | 25x112=2800
Du
s’
s
s’1
s’2
s’3
s’4
s2
s3
s4
W.T.
G.S.
u2
u3
u4
u1

## Slide 17
7 ft
6 ft
12 ft
1
2
3
4
+
=
Pore Water Pressure
Effective Stress
Total Stress
Static Water
gsoil= 112 lb/ft3
Point | u (psf) | s’ (psf) | s (psf)
1 | 3x62.4=187.2 | 0 | 0 +187.2=187.2
2 | 10x62.4= 624 | 7x(112-62.4) =347.2 | 971.2
3 | 16x62.4= 998.4 | 13x(112-62.4)=644.8 | 1643.2
4 | 28x62.4=1747.2 | 25x(112-62.4)=1240 | 2987.2
Du
s’
s
s’1
s’2
s’3
s’4
s2
s3
s4
G.S.
u2
u3
u4
u1
W.T.
3 ft
stotal = seff + Du
s1

## Slide 18
1
2
3
4
+
=
Pore Water Pressure
Effective Stress
Total Stress
Static Water
Point | u (psf) | s’ (psf) | s (psf)
1 | 0 | 0 | 0
2 | 0 | 7x112 = 784 | (7x112) = 784
3 | 0 | 13x112=1456 | 13x112=1456
4 | 12x62.4= 748.8 | 13x112 + 12 (112-62.4) =2051.2 | 25x112=2800
Du
s’
s
s’2
s’3
s’4
s2
s3
s4
G.S.
u2
u3
u4
u1
W.T.
stotal = seff + Du
7 ft
6 ft
12 ft
gsoil= 112 lb/ft3
s’1
s1

## Slide 19
Soil Phases Relationships
Degree of Saturation Sr = 1

## Slide 20
1
2
3
4
+
=
Pore Water Pressure
Effective Stress
Total Stress
Static Water
Point | u (psf) | s’ (psf) | s (psf)
1 | 0 | 0 | 0
2 | 0 | 7x112 = 784 | 7x112 = 784
3 | 0 | 7x112+6x110= 1444 | 7x112+6x110=1444
4 | 12x62.4= 748.8 | 7x112+6x110+12(120-62.4) =2135.2 | 7x112+6x110+12x120=2884
Du
s’
s
s’2
s’3
s’4
s2
s3
s4
G.S.
u2
u3
u4
u1
W.T.
stotal = seff + Du
7 ft
6 ft
12 ft
g1= 112 lb/ft3
s’1
s1
g2= 110 lb/ft3
g3= 120 lb/ft3

## Slide 21
There are three stresses acting at point A. These are
Effective Stress =
Total Stress =
Pore Water Pressure = u
Where
Total Stress = Effective Stress +
Or
Effective Stress= Total stress - u
=
Find:
What is the total stress ()
effective stress ()
pore water pressure ()
at point A
Figure 6
Z = 30’
G.S.
A
W.T.
dw=12’
Geoststic Stresses
Solution
Effective stress ()
Pore water pressure () = (30-12)(62.4) = 1,123.2 psf
Total stress () = 30 x 115 = 3,450 psf
Also, Effective stress () Total stress ()- Pore water pressure ()
Or Total stress ( Effective Stress ( + Pore water pressure ()
Or
This is if you don’t have gsat for the soil below water table, then use gsoil above the water table
This is if you have gsat for the soil below water table. If not
or

## Slide 22
Boussinesq's Equations.
3- Strip Load of Infinite Length
=
Or
= where
4- Triangular Load of Infinite Length
=
Z
Figure 3
Figure 4
q
x
Z
x
z
B = 2b
Strip Load of Infinite Length
d
b
Triangular Load of Infinite Length
2b
q
x
R1
R2
a
d
z
To use this equation see next page

## Slide 23
=
3- Strip Load of Infinite Length
Note:
1 are in radians
2- The above equation is valid for point A,
3- For x =0 or xb, the magnitude of become negative. For this case, that should be replaced by
Solved Example
Given: B=4m and q=100kN/m2. For point A, z = 1m and x=1m. Determine the vertical stress at A.
q=100kN/m2
x
Z
X=1m
Z = 1m
B = 2b
Strip Load of Infinite Length
A

## Slide 24
Solution
Since x=1m < b =2m
=
Hence,
=

## Slide 25
B=2b
q=100 kN/m2
x
R1
R2
a
d
z
Solved Example
Foe linearly increasing vertical loading on an infinite Strip,
Given:
B = 2m; q = 100kN/m2.
Find:
the vertical stress Dsv at A (x = -1m, z =1.5m)
Solution:
1- Find d and a
d = - 63.43o
a = 29.73o
X=-1m
Z= 1.5m
A(-1, 1.5)
=
= 4.47 kN/m2