## Slide 1: Mechanically Stabilized Earth (MSE) Wall Project
Geotechnical Design
CEG 4801
Kamal Tawfiq, Ph.D., P.E.

## Slide 2
Mechanically Stabilized Earth Wall (MSE Wall)

## Slide 3
Choices for Bridge Abutments
1
2
3
4

## Slide 4
Earth Pressure Behind Retaining Wall
Geotechnical Design
CEG 4801
Fall 2010
By: Dr. Kamal Tawfiq
Passive
Active

## Slide 5
French architect and engineer Henri Vidal in the early 1960s

## Slide 6
RECo’s first project in the early 1970’s, still in use today – Angeles National Forest, California.

## Slide 8
Mechanically Stabilized Earth (MSE) Walls
or Segmental Walls
H = 30 ft
f = 30o
g = 110 pcf

## Slide 9
Mechanically Stabilized Earth Wall (MSE Wall)

## Slide 11
Mechanically Stabilized Earth Wall (MSE Wall)

## Slide 12
Using Galvanized Steel

## Slide 13
Seattle-Tacoma International Airport, WA

## Slide 15
Kamal Tawfiq, Ph.D., P.E.

## Slide 34
Mechanically Stabilized Earth Wall (MSE Wall)

## Slide 43
Using Geogrids

## Slide 46
Tom Landry Highway, TX

## Slide 47
Stability of MSE Walls

## Slide 48
Stability of MSE Walls

## Slide 49
Block Failure

## Slide 50
Mechanically Stabilized Earth Wall (MSE Wall)
Geotechnical Design
CEG 4801
Fall 2004
By: Dr. Kamal Tawfiq

## Slide 51
Mechanically Stabilized Earth Wall (MSE Wall)

## Slide 52
MSE Key Stone Wall

## Slide 53
MSE Key Stone Wall

## Slide 61
Geotextile Walls

## Slide 62
Gabion Walls
Gabion Retaining Wall Design

## Slide 63
Gabion Walls

## Slide 64
Gabion Walls
HESCO CONCERTAINER
Military Accommodation Roofing, Personnel & Material Bunker Sets

## Slide 65
Interior of Fort Sumter with gabions
Petersburg, Virginia. Fort Sedgwick. Gabions

## Slide 67
Rebel fortifications in front of Atlanta, Georgia, in 1863 or 1864

## Slide 68
Gabions with cannon, from a late 16th century illustration.

## Slide 69
MSE Wall
Analysis and Design

## Slide 70
A reinforced earth retaining wall is to be 20 ft high. The properties of the backfill material are g = 110 lb/ft3 and f = 30o. Galvanized steel ties are to be used for the construction of the wall. Design the Reinforcements with FS(B) = 3, FS(p) = 3, fy = 29,000psi and ftie= 20o.
= 3’
= 3’

## Slide 73: MSE Wall Problem
Geotechnical Design
CEG 4801
Fall 2022
Kamal Tawfiq, Ph.D., P.E.

## Slide 75
A reinforced earth retaining wall is to be 18 ft high. The properties of the backfill material are g = 110 lb/ft3 and f = 30o. Galvanized steel ties are to be used for the construction of the wall. Design the Reinforcements with FS(B) = 3, FS(p) = 3, fy = 29,000psi and ftie= 20o.
Extend the tie beyond the active wedge to provide enough support against earth pressure of the panel
Kamal Tawfiq, Ph.D., P.E.
Design Concept
= 3’
= 3’
Problem:
= 4’’

## Slide 76
Yield Strength of Steel
t = thickness of tie
Friction angle between steel and soil (given)

## Slide 78
45 + f/2
LR1 = Rankine Length
Le5
LR5
Panel 1
Panel 2
Panel 3
Panel 4
Panel 5
Panel 6
Panel 7
LR1 =
H
Tie 1
45 - f/2
(H- 0.5 Sv) tan (45-f/2)
0.5Sv
W = width of the tie = 4”
Le1=
2.5(sa.Sv.SH)
2 w sv tanf
L1 = LR1 + Le1
Kamal Tawfiq, Ph.D., P.E.
H = 30 ft
f = 30o
g = 110 pcf
Le1 = Effective Length

## Slide 79
LR1 =
H
(H- 0.5 Sv) tan (45 - f/2)
Le1=
2.5(sa.Sv.SH)
2 w sv tanf
L1 = LR1 + Le1
sa4
sa3
sa3
sa4
sa2
sa5
sa6
sa7
sa8
Sv
SH
sv3
sv2
sv1
(sa3 + sa4)/2
sa1
(sa1 + sa2)/2
Kamal Tawfiq, Ph.D., P.E.
Tie width

## Slide 80
Example:
A reinforced earth retaining wall is to be 30 ft high. The properties of the backfill material are γ = 110 lb/ft3 and φ = 30ο. Galvanized steel ties are to be used for the construction of the wall. Design the Reinforcements with FS(B)= 3, FS(p) = 3, fy= 29,000 psi and φtie= 20ο
H=30ft
sa3
sa4
sa5
sa6
sa7
sv3
sv2
sv1
sa1 = 0
g = 110 lb/ft3
f = 30o
LR1 = Rankine Length for panel 1
Le1 = Effective Length
5’
sa4
sa3
Sv = 5’
SH = 5’
1
2
6
5
4
3
7
4
3
LR3 = Rankine Length for panel 3
To determine
LR3 = Rankine Length for panel 3=
ft
sa2 = 5’x110=550 psf
Z3 = 12.5 ft
1
= point 1
5’ + 5’ +2.5’
45 + f/2

## Slide 81
Basic Reinforced Earth Components.
Reinforced Earth is The Reinforced Earth Company’s flagship MSE retaining wall product, first introduced in the United States in 1971. The system’s soil reinforcements are inextensible High-Adherence (HA) steel reinforcing strips or ladders, which are bolted to tie strips embedded in precast concrete facing panels.
Back face of Cruciform panel with embedded tie strips
Reinforcing strip connection at back face of panel
High-Adherence (HA) Ribbed Reinforcing Strips
High-Adherence Ladders
GeoStrap® Geosynthetic Reinforcing Strips

## Slide 85
Kamal Tawfiq, Ph.D., P.E.

## Slide 86
Kamal Tawfiq, Ph.D., P.E.

## Slide 87
Kamal Tawfiq, Ph.D., P.E.

## Slide 88
Kamal Tawfiq, Ph.D., P.E.

## Slide 89
H = 30 ft
f = 30o
g = 110 pcf

## Slide 90
Mechanical Stabilized Earth (MSE).
Abutments and Retaining Structures

## Slide 91
MSE Walls
MSE Wall with Horizontal Backslope and Traffic Surcharge
The loading and earth pressure diagram for an MSE wall shall be developed in accordance
with LRFD [11.11.2]
Figure 14.4-2 shows a procedure to estimate the earth pressure. The active earth
pressure for horizontal backslope is computed using a simplified version of Coulomb theory
tan2 (45 / 2)
K a = −φ f
Where:
Ka = Coefficient of active earth pressure
φf = Angle of internal friction of retained earth
MSE Walls Earth Pressure for Horizontal Backslope with Traffic Surcharge
LRFD Figure 11.10.5.2-1

## Slide 94
MSE Wall with Sloping Surcharge
The active earth pressure coefficient Ka is computed using Coulomb’s equation. The force on
the rear of the reinforced soil mass (Ft) and the resulting horizontal (Fh) and vertical (Fv)
forces are determined from the following equations:
FT = 1/2 γfh2Kaf
Fh = Ft cos β
Fv = Ft sin β
Where:
γf = Unit weight of retained fill material
β = Slope angle of backfill behind wall
δ = Angle of friction between retained backfill and reinforced backfill
h = See Figure 14.4-3
Kaf = Use Coulomb’s equation

## Slide 96
Variation of the Coefficient of Lateral Stress Ratio with Depth
(Source AASHTO LRFD Figure 11.10.6.2.1-3)

## Slide 99
Modular Block Gravity Wall with Sloping Surcharge
When designing a “Modular Block Gravity Wall” without setback and with level backfill, the
active earth pressure coefficient may be determined using Rankine theory from the following
formula.
tan2 (45 / 2)
When designing a "Modular Block Gravity Wall" with setback, the active earth pressure
coefficient Ka shall be determined from the following Coulomb formula. The interface friction
angle between the blocks and soil behind the blocks is assumed to be zero.
No live load traffic and live load surcharge shall be allowed on modular block gravity walls
although they are designed for a minimum live load of 100psf. The density of the blocks is
assumed to be 135 pcf and the drainage aggregate inside or between the blocks 120 pcf.
The forces acting on a modular block gravity wall are shown in Figure 14.4-5.

## Slide 119
F* = COEFFICIENT OF FRICTION