## Slide 1: Foundation Engineering CEG 5115
By
Kamal Tawfiq, Ph.D., P.E, F.ASCE
FLORIDA A&M UNIVERISTY – FLORIDA STATE UNIVERSITY
COLLEGE Of ENGINEERING
DEPARTMENT OF CIVIL & ENVIRONMENTAL ENGINEERING

## Slide 2
Bearing Capacity of Shallow Foundations
Objectives: To analyze and design shallow foundations
Outcomes: Solve shallow foundation problems
Learning Tasks: Homework
Online quiz
Session 3

## Slide 3
…
Foundations are structural elements which transfer the superstructure loads to the subsurface soil or rock layers.
The mechanism of load transfer varies from one foundation type to another.
The best foundation is the one which maintains both the short and long term stability of the structure at a reasonable cost.
Structural Foundations

## Slide 4
3- Compensated or floating foundations
…
Structural Foundations are grouped into two main groups.
1- Shallow Foundation
  Spread Footings
  Continuous Footings
  Combined Footings
  Mat Foundation
2- Deep Foundation
  Driven Piles
  Drilled Shaft
  Auger Cat Piles

## Slide 5
Local shear foundation failure. (After Vesic, 1963)
Shallow Foundations
Shallow foundations represent the simplest form of load transfer from a structure to the ground beneath.
The analysis and design of shallow foundation involves both the bearing capacity of the foundation material and the settlement of the foundation.
Bearing capacity failures of shallow foundations can be grouped into three categories, as follows
1

## Slide 6
Local shear foundation failure. (After Vesic, 1963)
Bearing Capacity of Shallow Foundations
A bearing capacity failure is defined as a foundation failure that occurs when the shear stresses in the soil exceed the shear strength of the soil.
Bearing capacity failures of foundations can be grouped into three categories, as follows
1

## Slide 7
Linear elastic
Non-linear elastic
Non-linear elastic - plastic
Rigid Plastic
Rigid Plastic
Limit Equilibrium Method of Analysis
Mohr –Coulomb Domain
Concept of Stress – Strain and Failure of Soil

## Slide 8
General shear foundation failure. (After Vesic, 1963)
Bearing Capacity of Foundations
2

## Slide 9
Punching shear foundation failure. (After Vesic, 1963)
Bearing Capacity of Foundations
3

## Slide 10
Structural Foundations

## Slide 11
Structural Foundations

## Slide 12
Soil Bearing capacity was determined empirically based on practical experience.
With the advancement of engineering mechanics in the 18th and 19th centuries, modern bearing capacity of shallow and deep foundations started by using the classical earth pressure theory which was originally developed by Charles Augustin Coulomb(1736-1806).
Soil bearing earth pressure theory assumes that upon exceeding a certain stress condition, rupture surfaces are formed in the soil mass. Thus, the stress causing the formation of these rupture surfaces may be considered as the Ultimate Bearing Capacity of the soil.
Bearing Capacity of Foundations

## Slide 13
Laboratory Testing on Bearing capacity failures of foundations
General shear foundation failure

## Slide 14
one-sided rupture surface from a vertical, eccentrical load.
General shear foundation failure

## Slide 15
Apparatus

## Slide 16
One-sided rupture surface in Raritan sand under an obliquely loaded foundation model.
General shear foundation failure

## Slide 17
Bearing Capacity of Foundations

## Slide 18
Examples of shallow foundations. (a) Combined footing;
(b) combined trapezoidal footing; (c) cantilever or strap footing;
(d) octagonal footing;
(e) eccentric loaded footing with resultant coincident with area so soil pressure is uniform.
(Reproduced from Bowles, 1982; McGraw-Hill, Inc.)
BEARING CAPACITY OF SHALLOW FOUNDATIONS
Strip Footings
Spread Footings
Combined Footings
Mat Foundation
Types
Section 4 Lecture # 4

## Slide 19
BEARING CAPACITY OF SHALLOW FOUNDATIONS
Strip Footings
Types

## Slide 20
BEARING CAPACITY OF SHALLOW FOUNDATIONS
Spread Footings
Types

## Slide 21
BEARING CAPACITY OF SHALLOW FOUNDATIONS
Types
Combined Footing

## Slide 22
BEARING CAPACITY OF SHALLOW FOUNDATIONS
Types
Mat Foundation

## Slide 23
Depth of Shallow Foundation

## Slide 24
Other Types of Shallow Foundations
Section 5 Lecture # 4

## Slide 25
Other Types of Shallow Foundations

## Slide 26
Other Types of Shallow Foundations
Spread Footing with Cantilever Stemwall at Bridge Abutment
Spill-Through Abutment on Combination Strip Footing
Footing at Bridge Abutment

## Slide 27
Wind Turbine Foundation
Spread Footings
Types

## Slide 28
Pauker's Method (1850):
Pauker developed one of the oldest formula for the determination of the soil bearing capacity and the depth of foundations.
Colonel Pauker was a Russian military engineer and derived his formula while constructing fortifications and sea-batteries in the 1850's for the Czarist navel base of Kronstadt.
In his derivations Pauker operated skillfully with Coulomb's earth pressure theory.
Pauker's theory is good for sandy soils, although the effect of cohesion can also be considered.
His theory was once very popular in the: technical literature and was extensively used in the pre-revolutionary days in Czarist Russia
(f soil).
Bearing Capacity of Foundations
Historic Review

## Slide 29
Pauker's Method (1850):
The principle of Pauker's theory is the equilibrium condition of a point, say, point A, within a soil mass.
At depth z, the strip foundation contact
pressure is su .
The bearing capacity equation
was derived based on the
following assumptions.
The soil is cohesionless.
2) The weight of the structure is
replaced by an equivalent height,
He (or head) of soil whose
unit weight, g is the same as that of the foundation soil.
So He can be defined as:
3) At depth h and point A the active pressure from the su is equal to the passive stress from the soil wedge ABC.
He = su / g
sp
sa
A1
M
A
h
He
su
G
N
g
F
D
z
p
B
g
c
(p/4 + f/2)
Expulsion of soil from underneath a foundation after Pauker.
J

## Slide 30
Pauker's formula is a simple one, but it has some limitations, namely:
If z = 0 (as on the ground surface), then by this formula the bearing capacity is su = 0.
When f = 0, then su =gz, or He = z.
Also, Pauker's equation does not consider the width of the foundation.
The angle of internal friction at the vertical plane, AA1 , is not taken into account.
where sp = lateral stress at point A from passive earth pressure, and
sa = lateral stress at point A from active earth pressure.
From earth pressure theory:
sp = g (z + h) tan2(45° + f/2)
sa = g (He + h) tan2(45º - f/2),
where f = angle of internal friction of soil.
For z = He tan4 (45o – f/2)
The ultimate bearing capacity of the soil is
su = g z tan4 (45o + f/2)
sp
sa
A1
M
A
h
He
su
G
N
g
F
D
z
p
B
g
c
(p/4 + f/2)
Expulsion of soil from underneath a foundation after Pauker.
J
Pauker's Method (1850):

## Slide 31
One the oldest methods for determining bearing capacity of soil
Developed based on Coulomb earth pressure theory
It is used for sandy soils only
Where su= Ultimate Bearing Capacity = f(g, f, z)
The bearing capacity increases linearly with the depth of foundation (Z)
This formula is valid only when Z > 0 why ???????
Because the weight of the soil wedges below the footing are not included.
When f = 0 ......
No consideration for the cohesion of the soil (c)
This equation does not consider the width of the footing
The angle of internal friction at the vertical plane, A-A1, is not included.
Pauker's Method (1850):

## Slide 32
su = s1
s3 = gz
s3 = gz
s1
s3 = s1
s3
s1
z
G.S.
Bell’s System
Rankine's Formula (1885) (f soil).
Based on the theory of stress limit equilibrium conditions in an ideal soil at a point, the ratio of the major and minor principal stresses and a plane rupture surface, Rankine calculated the bearing capacity of soil as
Comparing Rankine's equation with Pauker's one notes that the results are identical.
Hence, the limitations and deficiencies of the Rankine's formula are the same
as in Pauker's Equation.
su = gz
1+ sin f
1- sin f
( )
2
Section 1 Lecture # 5

## Slide 33
Bell's Equation (1915) (c – f soil)
- Bell modified Pauker-Rankine's equations to be applicable for cohesive soils. In
- His equation is also based on the classical earth
pressure theory.
- Bell considered the equilibrium of two adjacent elements
of soil prisms, one just beneath the edge of a strip
foundation and the other just outside, at a depth, z,
below the ground surface.
The ultimate bearing capacity, or critical stress on a c - f soil exerted by a footing is:
su = g z tan4(p/4 + f/2) + 2c tan(p/4 + f/2) [ tan2 (p/4 + f/2) +1]
When c = 0, then su is equal to the Pauker-Rankine formula for f –soil
When f = 0, then su = gz + 4c
When f = 0, and z = 0, then su = 4c
which is Bell's ultimate bearing capacity of a pure cohesive soil.
su = s1
s3 = gz
s3 = gz
s1
s3 = s1
s3
s1
z
G.S.
Bell’s System

## Slide 34
A. Casagrande & R. Fadum (1948)
They presented an illustration relative to major and minor principal stress conditions presented by Bell
For long strip foundation the ultimate bearing capacity is
su = 4c
This is the same as of Bell’s
(c - soil)
s3 = gz
s3 = gz
s1
s3
s3
s1
G.S.
s3 = gz
s3 = gz
s1
s1
s1
s1
su
b
b
2b
2b
2b
2b
Dean NC State University's
Harvard University

## Slide 35
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
Prandtl's Theory (1920): Modern Bearing Capacity Theory
Prandtl studied the process of penetration of hard bodies into another softer, homogeneous, isotropic material from the viewpoint of plastic equilibrium.
One of his systems of study was a two dimensional penetration problem in which a vertical puncher of width, 2b, was applied to the horizontal
surface of an infinitely extending
body.
The puncher was considered as a strip loading perpendicular to the surface
The contact surface between the puncher and the other material is assumed to be smooth
Prandtl's system of study.
Ludwig Prandtl
1875 -1953
German Scientist.

## Slide 36
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
From Mohr's stress theory and, using Airy's stress function Prandtl obtained a differential equation of the second order,
The solution of which gives the analytical expression for the ultimate compressive stress, su :
Forces in Prandtl's system
Prandtl's Theory (1920):
tan f
c
su = [ tan2 (p/4 + f/2) ep tanf - 1]
1835 –1918
Christian Otto Mohr
Section 2 Lecture # 5

## Slide 37
Terzaghi's Correction (1943):
To prevent Prandtl's ultimate bearing capacity, su, from becoming equal to zero when c = 0,
Terzaghi suggested an improvement to account for the weight (surcharge) of the soil: to the original quantity c in Prandtl's equation a factor c' was added, where
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
Prandtl's Theory (1920):
c' = g t tanf
t =
Area of the wedges and sector
Length of CDF
tan f
c + c’
su = [ tan2 (p/4 + f/2) ep tanf - 1]

## Slide 38
Terzaghi's Bearing Capacity Equation:
Based on Prandtl's theory of plastic Failure (in soil) Terzaghi presented a modified system as illustrated in Fig. 1
The system is devised for a shallow strip footing (z < 2b)
The ground surface at the base line of the footing is loaded with a uniformly distributed load,
q = gz
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
Figure 1. Prandtl-Terzaghi's system

## Slide 39
Terzaghi's Bearing Capacity Equation:
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM

## Slide 40
Terzaghi's Bearing Capacity Equation:
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
q = gz
z
Pp
Pp
C (AD)
D
B
A
f
f
p/4 - f/2
p/4 - f/2
su or qu
Q
W
Passive Wedge
Active Wedge
C (BD)
Local shear failure
General shear failure

## Slide 41
Terzaghi's Bearing Capacity Equation:
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
su
Qult = su 2b x 1
f
D
B
A
Pp
Pp
W = g b2 tanf
C = c(AD)= c
b
cosf
C = c(BD)
H = b tanf
B = 2b
SV = 0
Qult + g b2 tanf – 2Pp – 2bc tanf = 0
Weight of
Soil wedge
Soil
reaction
Force of
cohesion
Qult = Qc + Qq + Qg 2bq = 2bcNc + 2b qNq + 2b2 g Ng
Qult = 2bc – 2bq + gb2 tanf
cos2 f
Kpc
+ tanf
(
)
cos2 f
Kpq
cos2 f
Kpg
- 1
(
)
Effect of
cohesion
Effect of
Surcharge
Effect of
Weight of wedge ABD
qult = qc + qq + qg = cNc + qNq + 0.5 g B Ng
Force
Stress

## Slide 42
Ultimate Bearing Capacity
qult = cNc + qNq + 0.5 g B Ng
where Nc , Nq and Ng = bearing capacity factors
Equations
Tables
Charts
Kpγ is obtained graphically. Simplifications have been made to eliminate the need for Kpγ. One such was done by Coduto, given below, and it is accurate to within 10%.
Terzaghi's Bearing Capacity Equation:
Section 3 Lecture # 5

## Slide 44
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
qult = c Nc + q Nq + 0.5 g B Ng
Terzaghi's Bearing Capacity Equation:
qult = 1.3 c Nc + qNq + 0.4 g B Ng
qult = 1.3 c Nc + q Nq + 0.3 g B Ng
q
b
B
L

## Slide 45
Effect of Water Table
gsoil
W.T
W.T
W.T
B
Df
Section 4 Lecture # 5

## Slide 46
Effect of Water Table
gsoil
W.T
W.T
W.T
B
Df
Q

## Slide 47
Terzaghi’s
Theory
Meyerof’s
Theory
MEYERHOF'S (1951, 1963) BEARING CAPACITY EQUATION
In 1951, Meyerhof published a bearing capacity theory which can be applied to rough shallow and deep foundations.
The failure surface at ultimate load under a continuous foundation as assumed by Meyerhof (1951) is shown in Fig. 1.
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
qult = c Nc sc dc ic+ q Nq sq dq iq + 0.5 g B Ng sg dg ig
Where
Sc ,Sq , Sg are shape factors
dc , dq ,dg are depth factors
Ic , iq , ig are load inclination factors
Df
Qv
Qh
R
Section 5 Lecture # 5

## Slide 48
Shape, Depth, and Inclination Factors for Meyerhof’s Expression (Meyerhof, 1951, 1963)
Note: Where is the load inclination to the vertical and KP = tan2(45 + f/2).
Source: From Bowles, J.E., 2002, Foundation Analysis and Design, McGraw-Hill, New York.
V
H
R
q < f
f

## Slide 49
Brinch Hansen’s (1970) Bearing Capacity Equation
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
qult = c Nc sc dc ic gc bc + q Nq sq dq iq gq bq + 0.5 g B Ng sg dg ig gg bg
qult = 5.14 cu (1+ s’c + d’c - i’c - g’c - b’c )+ q
For undrained conditions
Where
Sc , Sq , Sg are shape factors
dc , dq , dg are depth factors
ic , iq , ig are load inclination factors
gc , gq , gg are ground slope factors
bc , bq , bg are base slope factors
g
b
Df
Qv
Qh
R

## Slide 50
Source: From Bowles, J.E., 2002, Foundation Analysis and Design, McGraw-Hill, New York.
Shape and Depth Factors for Hansen’s Expression (Hansen, 1970). Primed Factors are for f = 0
f

## Slide 51
Inclination, Ground Slope, and Base Tilt Factors for Hansen’s Expression
(Hansen, 1970) . Primed Factors are for f
Source: From Bowles, J.E., 2002, Foundation Analysis and Design, McGraw-Hill, New York.
V
H
R
q < f
β
B
V
H
g
f
c
D


## Slide 52
Vesic’s (1973) Bearing Capacity Equation
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
Based on the work of Prandtl, Vesic (1973) assumed the foundation is subjected to general shear failure and the foundation is smooth. Vesic arrived at the same expression for the ultimate bearing capacity as proposed by Terzaghi. The expressions for Nq and Nc are the same as for Hansen and Meyerhof, but a new expression for N is proposed
Vesic also proposed a series of correction factors for the ultimate bearing capacity including the change of failure mode due to soil compressibility. His bearing capacity equation takes the following factors into account:
Where:
Sc , Sq , Sg are shape factors
dc , dq , dg are depth factors
ic , iq , ig are load inclination factors
gc , gq , gg are ground slope factors
bc , bq , bg are base inclination factors
c , q , g, are soil compressibility factors
Section 1 Lecture # 6
Prandtl
Terzaghi
Meyerhof
Hansen

## Slide 53
Shape and Depth Factors for Vesic’s Expression (Vesic, 1973, 1975). Primed Factors are for f = 0
Source: From Bowles, J.E., 2002, Foundation Analysis and Design, McGraw-Hill, New York
f

## Slide 54
Notes: c = cohesion, that is, attraction between the same material; ca = adhesion, that is, attraction between two different materials (e.g., concrete and soil). Bowles (2002) suggests ca = 0.6 -1.0c. The actual value depends on the concrete finish. If concrete foundation base is smooth, then ca would be higher than that of a rough base.
Source: From Bowles, J.E., 2002, Foundation Analysis and Design, McGraw-Hill, New York.

β
B
V
H
g
f
c
D
Inclination, Ground Slope, and Base Tilt Factors for Vesic’s Expression (Vesic 1973, 1975). 3.2). Primed Factors are for f = 0
m = 1.5 for square footing

## Slide 55
The soil compressibility factors c, q g can be determined as follows:
Step 1- Calculate the rigidity index, Ir , of the soil at a depth approximately B/2
below the bottom of the foundation, or
Where:
Gs = shear modulus of the soil
q’ = effective overburden pressure at a depth of Df + BI2
Gs
c’ + q’ tanf
Ir =
Step 2- Calculate the critical rigidity index, Ir(cr)
Step 3- If Ir  Ir(cr) then
c, q , g = 1
However, If Ir < Ir(cr) then
Es
2(1 + ms )
Gs=
Poisson's ratio
Young’s Modulus
Soil Compressibility Factors
Continue
Df
B
B/2
Ir
q’

## Slide 56
For f > 0,

## Slide 57
Meyerhof Bearing Capacity Factors
Hansen Bearing Capacity Factors
Vesic Bearing Capacity Factors
f
f
f

## Slide 58
where
Where:
Sc , Sq , Sg are shape factors
dc , dq , dg are depth factors
ic , iq , ig are load inclination factors
gc , gq , gg are ground slope factors
bc , bq , bg are base inclination factors
hc, hq , hg are layer thickness factors
General Bearing Capacity Equation
To take into account the realistic variables likely to be present in a practical foundation case, the bearing capacity factors are modified by empirical factors. Thus, to take into account shape, inclination of resultant load, depth to base, surface slope, base slope, soil compressibility and thickness of supporting layer, the following expression can be used
gsoil
B
H
Q
Bedrock
Footing on a Finite Layer Underlain by Bedrock

## Slide 59
Values of Layer Thickness Factors he, hq , hy • Strip Footing on a Layer of Finite
Thickness Overlying a Bedrock. (SOURCE: From Mandel and Salencon, 1969.)
gsoil
B
H
Q
Bedrock
hc
hq
hg

## Slide 60
For saturated soft clays under undrained conditions (u = 0),
the failure surface is a circular arc.
Skempton (1951) proposed the following expression for the
ultimate bearing capacity of a footing:
Skempto’s Bearing Capacity Equation
SOIL BEARING CAPACITY CALCULATIONS
BY MEANS OF THEORY OF PLASTIC EQUILIBRIUM
where
cu = Undrained shear strength of the soil (the average value at depth 2/3 b below the bottom of the foundation is used),
D = depth of the foundation,
o = unit weight of soil above base of the foundation
Nc = a function of the shape of the footing and the depth/breadth ratio (D/b).

## Slide 61
Skempton’s values of Nc for u = 0

## Slide 62
Factor of Safety
Calculating the gross allowable load-bearing capacity of shallow foundations requires the application of a factor of safety (FS) to the gross ultimate bearing capacity, or
qall =
qult
FS
Some practicing engineers prefer to use a factor of safety such that
Net stress Increase on soil =
Net ultimate bearing capacity
FS
The net ultimate bearing capacity is defined as
Q
qult
qnet(u) = qult - q

## Slide 63
Where
qnet(u) = Net ultimate bearing capacity
q = g Df
So
qall(net) =
qult - q
FS
Another factor of safety with respect to shear failure (FSshear) can also be used. In most cases, a value of FSshear = 1.4 to 1.6. So the developed cohesion and the angle of friction are
c’d =
c’
FSshear
f’d = tan-1 ( )
tan f
FSshear
qult = c’d Nc + q Nq + 0.5 g B Ng
Nc
Nq
Ng
f’d
{
qall(net) = qall – q = c’d Nc + q (Nq -1)+ 0.5 g B Ng
qall(net) = (qult – q) / FS = [c Nc + q (Nq - 1)+ 0.5 g B Ng ] / FS
FS ≈ 3
Section 2 Lecture # 6

## Slide 64
Category | Types of rocks and soils | Allowable bearing value
Non-cohesive soils | Dense gravel or dense sand and gravel | >600 kN/m²
 | Medium dense gravel, or medium dense sand and gravel | <200 to 600 kN/m²
 | Loose gravel, or loose sand and gravel | <200 kN/m²
 | Compact sand | >300 kN/m²
 | Medium dense sand | 100 to 300 kN/m²
 | Loose sand | <100 kN/m² depends on degree of looseness
Cohesive soils | Very stiff bolder clays & hard clays | 300 to 600 kN/m²
 | Stiff clays | 150 to 300 kN/m²
 | Firm clay | 75 to 150 kN/m²
 | Soft clays and silts | < 75 kN/m²
 | Very soft clay | Not applicable
Peat |  | Not applicable
Made ground |  | Not applicable
Suggested Values for qall

## Slide 65
Ultimate Bearing Capacity under Eccentric Loading
Often times foundations are subjected to moments in addition to the vertical load, as shown in Figure 1. In such cases, the distribution of pressure by the foundation on the soil is not uniform. The nominal distribution of pressure is
gsoil
B x L
Q
M
gsoil
B
Q
e
B’
2e
L’
qmax
qmin
qmax
e < B/6
e > B/6
qmax = Q/BL + 6M/B2L
qmin = Q/BL + 6M/B2L
and
Where:
Q = total vertical load
M = moment on the foundation
e = eccentricity = M/Q
qmax = Q/BL (1+ 6e/B)
qmin = Q/BL (1- 6e/B)
Figure 1
=
Q.e = M

## Slide 66
Meyerhof (1953) proposed a method to determine the ultimate load that the soil can support and the factor of safety against bearing capacity failure.
Step 1 - Determine the effective dimensions of the foundation (Figure 1)
B' = effective width = B - 2e
L' = effective length = L
Step 2. The ultimate bearing capacity:
Use B’ and L’ for sc , sq , sg
Use B and L for dc dq dg
Qult = q’ult (B’) (L’)
FS = Qult / Q
Also
FS = q’ult / qmax
Ultimate Bearing Capacity under Eccentric Loading
q’ult = c Nc sc dc ic+ q Nq sq dq iq + 0.5 g B Ng sg dg ig
gsoil
B
Q
e
B’
2e
L’

## Slide 67
Bearing Capacity of Layered Soils: Stronger Soil Underlain by Weaker Soil
In real field conditions and in layered soil failure surface at ultimate load may extend through two or more soil layers. In these cases, determining the ultimate bearing capacity can only be made for shallow continuous foundation supported by a stronger soil layer, underlain by a weaker soil that extends to a great depth.
B
qu
Shallow
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
a
b
a’
b’
pp
pp
d
Ca
d
Df
H
Ca
1
B
qu
Df
H
Deep
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
2

## Slide 68
If the depth H is relatively small compared with the foundation width B, a
punching shear failure will occur in the top soil layer, followed by a general shear failure in the bottom soil layer
if the depth H is relatively large. then the failure surface will be completely located in the top soil layer, which is the upper limit for the ultimate bearing capacity.
The ultimate bearing capacity for this problem, is given as
where
qb = bearing capacity of the bottom soil layer
B = width of the foundation
Ca = adhesive force = ca H ca = adhesion
Pp = passive force per unit length of the faces aa' and bb'
d' = inclination of the passive force pp with the horizontal
(1)
Bearing Capacity of Layered Soils: Stronger Soil Underlain by Weaker Soil
ca H

## Slide 69
Equation (1) can be simplified to the form
where KpH = horizontal component of passive earth pressure coefficient.
However. let
where Ks = punching shear coefficient. Then,
The punching shear coefficient, Ks is a function of q2/q1 and f, or, specifically
Note that q1 and q2 are the ultimate bearing capacities of a continuous foundation
of width B under vertical load on the surfaces of homogeneous thick beds of
upper and lower soil, or
(2)
(3)
ca H
ca H
KpH tand
KpH tand

## Slide 70
q1 = c1 Nc1 + 0.5 g1 B Ng1
q2 = c2 Nc2 + 0.5 g2 B Ng2
for the top layer to be a stronger soil, q2 /q1 < 1
Variation of ca/c1 with q2/q1 based On the theory of Meyerhof and Hanna (1978)
Meyerhof and Hanna's
punching shear coefficient Ks
Ks = 4

## Slide 71
If the height H is relatively large, then the failure surface in soil will be completely located in the stronger upper-soil layer.
For this case,
qult = qt = c1 Nc1 + q Nq1 + 0.5 g1 B Ng1
where Nq1 = bearing capacity factor for f' = f‘1 and q = g1Df
Combining Eqs. (3) and (4) yields
(4)
B
qu
Df
H
Deep
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
4500 lb/ft2
5000 lb/ft2
Use this value for design

## Slide 72
where
qb = c2 Nc2 sc2 + g1 (Df + H) Nq2 sq2 + 0.5 g2 B Ng2 sg2
qt = c1 Nc1 sc1 + g1 Df Nq1 sq1 + 0.5 g1 B Ng1 sg1
sc1, sq1 , sg1 = shape factors with respect to top soil layer
sc2, sq2 , sg2 = shape factors with respect to bottom soil layer
For rectangular foundations, the preceding equation can be extended to the form

## Slide 73
B
qu
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
a
b
a’
b’
pp
pp
d
Ca
d
Df
H
Ca

## Slide 74
B
qu
Df
H
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2

## Slide 75
g1
B x B
Q
Df
Example 1:
Given:
g1 = 110 lb/ft3
g2 = 120 lb/ft3
f2 = 30o
c2 = 200 lb/ft2
Df = 4ft
B x B = 6’ x 6’
F.S. = 3
Find:
Qall = ???
Using Terzaghi’s B.C Equation
Using Meyerhof’s B. C. Equation
Using Hansen’s B. C. Equation
Using Vesic’s B. C. Equation
g2 = 120 lb/ft3
f2 = 30o
c2 = 300 lb/ft2
Section 3 Lecture # 6

## Slide 77
f

## Slide 80
Section 4 Lecture # 6
Find:
Qall = ???
Using Hansen’s B.C Equation
Using Vesic’s B. C. Equation
f

## Slide 83
f
Use Vesic’s Equation

## Slide 86
Section 5 Lecture # 6
Vesic’s Equation
using compressibility correction factor
Section 1 Lecture # 6
From
Gs
c’ + q’ tanf
Ir =
If Ir  Ir(cr) then
c, q , g = 1
If not
Equations in Section 1 lecture 6
q , g
Tables
Es
2(1 + ms )
Gs=
q’ = effective overburden pressure at Df + BI2
Df
B
B/2
Ir
q’

## Slide 87
Typical Elastic Moduli of soils (Es)
Soil | Es (tsf)
very soft clay | 5 - 50
soft clay | 50 - 200
medium clay | 200 - 500
stiff clay, silty clay | 500 - 1000
sandy clay | 250 - 2000
clay shale | 1000 - 2000
loose sand | 100 - 250
dense sand | 250 - 1000
dense sand and gravel | 1000 - 2000
silty sand | 250 - 2000
500,000 to 4000,000 psf

## Slide 89
q = g
q = g
0.22
q = g

## Slide 91
Section 1 Lecture # 7
Example 2:
Given:
g1 = 110 lb/ft3
g2 = 120 lb/ft3
f2 = 30o
c2 = 200 lb/ft2
Df = 4ft
B x B = 6’ x 6’
F.S. = 3
b = 20o
= 15o
Qall = 120 kips
Find:
qall = ???
Using Vesic’s B. C. Equation
b = 20o
V
H
B = 6’
Df
qall
=
15o
Qall = 120,000 lb
g1 = 110 lb/ft3
H
V
B = 6’
B = 6’
g2 = 120 lb/ft3
f2 = 30o
c2 = 200 lb/ft2

## Slide 92
Vesic Bearing Capacity Factors
f

## Slide 96
Meyerhof (1953) proposed a method to determine the ultimate load that the soil can support and the factor of safety against bearing capacity failure.
Step 1 - Determine the effective dimensions of the foundation (Figure 1)
B’ = effective width = B - 2e
L = effective length = L
Step 2. The ultimate bearing capacity:
Use B’ and L for sc , sq , sg , ic, iq, ig
Use B and L for dc dq dg
Qult = q’ult (B1) (L)
FS = Qult / Q
Also
FS = q’ult / qmax
Ultimate Bearing Capacity under Eccentric Loading
q’ult = c Nc sc dc ic+ q Nq sq dq iq + 0.5 g B’ Ng sg dg ig
gsoil
B
Qv
e
B’
2e
L
Section 2 Lecture # 7
Figure 1
Q
QH
M
QH
Qv

## Slide 97
For one-way eccentricities
In order to prevent tensile forces at the bottom that tend to uplift the footing, the following conditions must be satisfied (Case 1 and 2):
eB 
B
6
gsoil
B
Q
eB
+
+
+
+
-
0
L
B
Q
L
B
Q
2
3
L
B/6
Q
1
B
Effective Width = B’ = B - 2eB
qmax = Q/BL + 6M/B2L
qmin = Q/BL + 6M/B2L
Q eB = M
eB = M/Q
eB <
B
6
eB =
B
6
eB >
B
6
qmax
qmin
uplift
B/3
L/3

## Slide 98
gsoil
B
Q
eB
B’
2eB
L’
L
2eL
eB
eL
For two-way eccentricities
In order to prevent tensile forces at the bottom that tend to uplift the footing, the following conditions must be satisfied (Case 1 and 2):
eB 
B
6
eL 
L
6
gsoil
B
Q
eB
+
+
+
+
-
0
L
B
L
B
L
B
B' = B - 2eB
L' = L - 2eL
B/6
L/6
Q
Q
Q
1
2
3

## Slide 99
I- eL /L < 1/6 & eB /B < 1/6
Knowing B2 and L2 , the effective area A´ can be calculated.
A’ = L.B – 0.5 (B-B2) . (L-L2)
For this case,
L´ = L
and
B´ = A´/L´
L
B
Q
+
eB
eL
B2
+
+
L2
Effective
area
A´
Example
A shallow foundation measuring 4 ft × 6 ft in plan is subjected to a centric load and a moment. If eB = 0.45 ft, eL = 0.90 ft

## Slide 100
eB /B versus B2 /B for eL /L < 1/6 and eB /B < 1/6
Highter, W. H., and J. C. Anders. 1985
eB /B versus L2 /L for eL /L < 1/6 and eB /B < 1/6
Highter, W. H., and J. C. Anders. 1985
eB /B
eB /B
L2 /L
B2 /B
Solution
0.06
B2 = 4x0.06 = 0.24’
0.24
L2 = 0.24 x 6 = 1.44’

## Slide 101
II- eL /L < 0.5 & 0 < eB /B < 1/6
L
B
Q
+
+
+
-
L1
eB
eL
L2
This case is shown in the Figure. Knowing the magnitudes eL /L and eB /B, the values of L1 /L and L2 /L (and thus L1 and L2) can be obtained from Chart s1 & 2. The effective area is given as
The effective area = A’ = 0.5 (L1 + L2) B
The effective length L’ is larger of the two values L1 and L2.
The effective width is equal to
B’ = A’ / L’
Example
A shallow foundation measuring 4 ft × 6 ft in plan is subjected to a centric load and a moment. If eB = 0.45 ft, eL = 1.2 ft
Section 3 Lecture # 7

## Slide 102
eL /L versus L2 /L for eL /L < 0.5 and 0 < eB /B < 1/6
eL /L versus L1 /L for eL /L < 0.5 and 0 < eB /B < 1/6
eL /L
eL /L
L2 /L
L1 /L

## Slide 103
III- eL/L < 1/6 & 0 < eB /B < 0.5
The effective area can be obtained as
A’ = 0.5 (B1 + B2) L
The effective length is equal to
L’ = L
The effective width can be given as
B’ = A’ / L’
B1
L
B
Q
+
eB
eL
B2
+
-
Example
A shallow foundation measuring 4 ft × 6 ft in plan is subjected to a centric load and a moment. If eB = 0.75 ft, eL = 0.9 ft

## Slide 104
eB /B versus B1 /B for eL /L < 1/6 and 0 < eB /B < 0.5
Highter, W. H., and J. C. Anders. 1985
eB /B versus B2 /B for eL /L < 1/6 and 0 < eB /B < 0.5
Highter, W. H., and J. C. Anders. 1985
eB /B
eB /B
B1 /B
B2 /B

## Slide 105
IV- eL /L ≥ 1/6 & eB /B ≥ 1/6
L
B
Q
+
-
+
-
B1
L1
eB
eL
The effective width B′ is equal to the
smaller of B1 or L1.
B1 = B (1.5 - )
3eB
B
L1 = L (1.5 - )
3eL
L
The effective area = A’ = 0.5 B1 L1
Example
A shallow foundation measuring 4 ft × 6 ft in plan is subjected to a centric load and a moment. If eB = 0.75 ft, eL = 1.2 ft

## Slide 106
V- Circular Foundation
Q
eR
R
In the case of circular foundations under eccentric loading, the eccentricity is always one way. The effective area A´ and the effective width B´ for a circular foundation are given in a non-dimensional form in Figure 1.
Figure 1
eR /R
A’ /R2
& B’ /R
Q
M

## Slide 107
Example 3
Figure 1 shows a windmill on a shallow foundation. The foundation measures 15 ft × 15 ft in plan and is subjected to a centric load and a moment. If eB = 2.0 ft, eL = 3 ft, and the depth of the foundation is 6 ft, determine the allowable load (Qall) the foundation can carry. Use a factor of safety of 4. For the soil given unit weight, g = 115 lb/ft3 ; friction angle, f = 35o; and cohesion, c = 0.
Solution
L
B
Q
+
+
+
-
L1
eB
eL
L2
Figure 1
B
Q
eB
eL
L

## Slide 108
Qv
qmax
qmin
QH
eB
Pp
FR
Foundation Resistance Due to Lateral Load QH
Factor of Safety =
Resisting Force
Driving Force
Resisting Force = FR + Pp
FR = B ca + Qv tand
Pp = {[(h g kp+D g kp)/2] (D-h)} .1 or B
D
h
Driving Force = QH = Q sina
Qv
a
Factor of Safety =
Q sina
B ca + (Qv) tand +
[(h g kp+D g kp)/2] (D-h)
 1.5
ca
d
= 0.5 c to 2/3 c
= 0.5 f to 2/3 f
Section 4 Lecture # 7
For one -way eccentricities

## Slide 109
+
-
L
B
QB
L1
eB
eL
L2
Foundation Resistance Due to Lateral Load QH
For two-way eccentricities
QL
PpL
PpB
Inactive earth pressure zone
Q
b
+
+
eL /L < 0.5 & 0 < eB /B < 1/6
Effective Area (A’) = Area at which adhesion and friction takes place
Q
eR
R
QH

## Slide 110
L
B
Q
+
eB
eL
B2
+
+
L2
Effective
area
A´
L
B
Q
+
-
+
-
B1
L1
eB
eL
Foundation Resistance Due to Lateral Load QH
For two-way eccentricities
B1
L
B
Q
+
eB
eL
B2
+
-

## Slide 111
Q
eR
R
QH
Example
Given:
= 115 pcf
c = 180 psf
f = 30o
Df = 5 ft
h = 2 ft
R = 12 ft
eR = 2 ft
Q = 200,000 lb
= 18o
Find:
Factor of safety against lateral load failure
Foundation Resistance Due to Lateral Load QH
QH
Qv
Q
a
Df = 5 ft
h = 2 ft

## Slide 112
eR /R
A’ /R2
& B’ /R
0.167
Solution:

## Slide 113
Bearing Capacity of Layered Soils: Stronger Soil Underlain by Weaker Soil
In real field conditions and in layered soil failure surface at ultimate load may extend through two or more soil layers. In these cases, determining the ultimate bearing capacity can only be made for shallow continuous foundation supported by a stronger soil layer, underlain by a weaker soil that extends to a great depth.
B
qu
Shallow
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
a
b
a’
b’
pp
pp
d
Ca
d
Df
H
Ca
1
B
qu
Df
H
Deep
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
2
Section 5 Lecture # 7
Case 1

## Slide 114
If the height H is relatively large, then the failure surface in soil will be completely located in the stronger upper-soil layer.
For this case,
qult = qt = c1 Nc1 + q Nq1 + 0.5 g1 B Ng1
where Nc1 , Nq1 and Ng1 = bearing capacity factor for f' = f‘1 & q = g1 Df
(4)
B
qu
Df
H
Deep
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
4500 lb/ft2
5000 lb/ft2
Use this value for design
(5)
Case 2
How do we know which case governs the design?

## Slide 115
where
qb = c2 Nc2 sc2 + g1 (Df + H) Nq2 sq2 + 0.5 g2 B Ng2 sg2
qt = c1 Nc1 sc1 + g1 Df Nq1 sq1 + 0.5 g1 B Ng1 sg1
sc1, sq1 , sg1 = shape factors with respect to top soil layer
sc2, sq2 , sg2 = shape factors with respect to bottom soil layer
For rectangular foundations, the preceding equation can be extended to the form

## Slide 116
EXAMPLE
Given:
A continuous footing & soil parameters
Find:
Ultimate bearing capacity qult .
B = 2 m
Shallow
Stronger Soil
g1
f1
c1
Weaker Soil
g2
f2
c2
Df = 0.8 m
H = 1 m
= 16.5 kN/m3
= 32o
= 0
= 18.5 kN/m3
= 30o
= 0
Solution
1- Determine qb
2- Determine qt
3- Determine Ks
4- Find qult by using the equation shown below

## Slide 119
q1 = c1 Nc1 + 0.5 g1 B Ng1
q2 = c2 Nc2 + 0.5 g2 B Ng2
for the top layer to be a stronger soil, q2 /q1 < 1
Variation of ca/c1 with q2/q1 based On the theory of Meyerhof and Hanna (1978)
Meyerhof and Hanna's
punching shear coefficient Ks
Ks = 1

## Slide 120
Bearing Capacity of Layered Clay Soils
qu
B
Cylindrical
Failure
Surface
Df
Z
Clay
ϕ1 = 0
c1 = ✓
Clay
ϕ2 = 0
c2 = ✓
qult = c1 Nc sc dc+ q sq dq

## Slide 121
Nc
Z/B = 0
8
4
0
2
0.4
0.8
C2 / C1
1.6
2.0
1.2
Bearing capacity on layered clay soils (ϕ = 0) (Reddy and Srinivasan, 1967)
6
10
0.3
0.2
0.4
0.1
1.5
0.5
1.0
0.75
0.5
0.25
Z/B = 0

## Slide 122
B = 2 m
g1
f1
c1
g2
f2
c2
Df = 0.8 m
H = 1 m
= 16.5 kN/m3
= 32o
= 78 kN/m2
= 18.5 kN/m3
= 30o
= 78 kN/m2
EXAMPLE
Given:
A continuous footing & soil parameters
Find:
Ultimate bearing capacity qult .
Meyerhof Bearing Capacity Factors
f
qult = c1 Nc sc dc+ q sq dq