## Slide 1
Soil Settlement
By
Kamal Tawfiq, Ph.D., P.E., F.ASCE
Spring 2018

## Slide 2
Soil Settlement:
Total Soil Settlement = Elastic Settlement + Consolidation Settlement
Stotal = Se + Sc
Load Type (Rigid; Flexible)
Elastic Settlement or Immediate Settlement depends on
Settlement Location (Center or Corner)
{
Theory of Elasticity
Elastic Settlement
Time Depended Elastic Settlement (Schmertman & Hartman Method (1978)
{
By: Kamal Tawfiq, Ph.D., P.E.
Elastic settlement occurs in sandy, silty, and clayey soils.

## Slide 3
Water
Water Table (W.T.)
Voids
Solids
Expulsion of the water
Consolidation Settlement (Time Dependent Settlement)
By: Kamal Tawfiq, Ph.D., P.E.
* Consolidation settlement occurs in cohesive soils due to the expulsion of the water from the voids.
* Because of the soil permeability the rate of settlement may varied from soil to another.
* Also the variation in the rate of consolidation settlement depends on the boundary conditions.
SConsolidation = Sprimary + Ssecondary
Primary Consolidation Volume change is due to reduction in pore water pressure
Secondary Consolidation Volume change is due to the rearrangement of the soil particles
(No pore water pressure change, Δu = 0, occurs after the primary consolidation)
When the water in the voids starts to flow out of the soil matrix due to consolidation of the clay layer. Consequently, the excess pore water pressure (Du) will reduce, and the void ratio (e) of the soil matrix will reduce too.

## Slide 4
Elastic Settlement
Se = (1 - μs) α
2
2
(corner of the flexible foundation)
Se = (1 - μs) α
2
(center of the flexible foundation)
By: Kamal Tawfiq, Ph.D., P.E.
Where α = [ ln ( √1 + m2 + m / √1 + m2 - m ) + m. ln ( √1 + m2 + 1 / √1 + m2 - 1 )
m = B/L
B = width of foundation
L = length of foundation
1
p
Es
Bqo
Es
Bqo

## Slide 5
By: Kamal Tawfiq, Ph.D., P.E.
3.0
2.5
2.0
1.5
1.0
L / B
0.0
2
8
4
3
5
6
7
10
9
1
α, αav, αr
α
αav
αr
For circular foundation
α = 1
αav = 0.85
αr = 0.88
Values of α, αav, and αr
Bqo (1 - μs) α
Es
Se =

## Slide 7
DH =
CS H
1 + eO
P0
Po + DP
log ( )
Dp
Dp
Dp
Dp
Dp
Dp

## Slide 8
Dp
Dp
Dp2
Dp2
Dp2
Dp
Dp
DH = log ( ) +
CS H
1 + eO
PC
Po
C C H
1 + eO
PC
Po + DP
log ( )

## Slide 9
Dp
Dp2
Dp2
Dp2
Dp2
DH = log
CS H
1 + eO
Po
Po + DP
( )
2