## Slide 1
MODULE 7
Section II
Slope Stability Analysis & Design

## Slide 2
Center
R
a2
c . L
W1
θ
R
A
R
B
R
C
W2
F.S. =
Mdriving
Mresisting
Circular Failure Surface (Cohesive Soil)
Determinate Problem
Number of Unknowns = Number of Equilibrium Equations
Mresisting = c . L + W2 . a2 = c . (R.θ) R + W2 . a2
Mdriving = W1 . a1
W1 = Area (BCDE) . γsoil
By Kamal Tawfiq, Ph.D., P.E.
D
E
a1

## Slide 3
Circular Method in Clayey Soil (f = 0)
center
center
Radius = R
Radius = R
Shear Resistance = C = c L
W1
W2
a1
a2
Factor of Safety =
Resisting Moment (MR)
Driving Moment (MD)
Resisting Moment (MR) = W2 x a2 + C x R
q
R.q
Driving Moment (MD) = W1 x a1
CG1
CG2
Green Area x Soil Unit Weigh
Yellow Area x Soil Unit Weigh
How to find W1, W2 , CG1 and CG2 ?
Refer to your Eng. Mechanics course
Case 1
Case 2

## Slide 4
Circuler Failure Surface in C - f Soil
Indeterminate Problem
Number of Unknowns ≠ Number of Equilibrium Equations
W varies from point to point. Therefore, N & F will vary from point to point
Center
R
W1
W2

## Slide 5
Circuler Failure Surface in C - f Soil
Indeterminate Problem
Number of Unknowns ≠ Number of Equilibrium Equations
W varies from point to point. Therefore, N & F will vary from point to point
Center
R
f
N
t
F
W
W sinq
W cosq
q
q

## Slide 6
A variety of charted solutions exist for the simple geometry considered above.
For the undrained (total stress) analysis of slopes charts produced by Taylor are often used.
The charts are based on the analysis of circular failure surfaces, and assume that soil strength is given by a Mohr-Coulomb analysis
Tension cracks are not considered
Stability Number

## Slide 7
αi
H
nH
DH
Taylor’s Method
By Kamal Tawfiq, Ph.D., P.E.

## Slide 8
Taylor’s Chart

## Slide 10
Solution:
Use the chart with i = 30o, and fdev = tan-1 (
tan 10o
1.5
)
= 6.7o
SN = 0.1 =
20/1.5
15 x Hdesign
Hdesign = = 8.88 m
20/1.5
15 x 0.1
Example 1:
Given:
cu = 20 kN/m2
fu = 10o
gbulk = 15 kN/m3
F.S. = 1.5
Find:
Safe Height (H)
Hdesign=?
b=30o
or b=30o
Stability Number (c / gH)
Slope Angle b (deg)
SN = 0.1

## Slide 11
Solution:
2- Use the chart with b = 30o, and fdev = tan-1 (
tan 10o
1.0
SN = 0.075 =
cdev
15 x 7
4- cdev = 15 x 7 x 0.075 = 7.87 kN/m2
5- FSc = c / cdev = 20 / 7.87 = 2.5
Therefore the Assumed FSf = the calculated FSc
1- Assume FSf = 1
3- Go to the chart and find SN for fdev = 10o
Trial # 1
Given:
cu = 20 kN/m2
fu = 10o
gbulk = 15 kN/m3
H = 7 m
b= 30o
Find:
F.S.
Example 2:
)
= 10o
H= 7m
b=30o
Stability Number (c / gH)
Slope Angle b (deg)
SN=0.075

## Slide 12
This means the assumed factor of safety was not the right one. So we need
to assume another FSf and solve the problem again for FSc.
2- Use the chart with i = 30o, and fdev = tan-1 (
tan 10o
1.5
)
= 6.7o
SN = 0.1 =
cdev
15 x 7
4- cdev = 15 x 7 x 0.10 = 10.5 kN/m2
5- FSc = c / cdev = 20/10.5 = 1.9
Therefore the Assumed FSf = the calculated FSc
1- Assume FSf = 1.5
3- Go to the chart and find SN for fdev = 6.7o
Trial # 2
This means the assumed factor of safety was not the right one. So we need to assume another FSf and solve the problem again for FSc.
Stability Number (c / gH)
Slope Angle b (deg)

## Slide 13
2- Use the chart with i = 30o, and fdev = tan-1 (
tan 10o
1.8
)
= 5.5o
SN = 0.11 =
cdev
15 x 7
4- cdev = 15 x 7 x 0.11 = 11.55 kN/m2
5- FSc = c / cdev = 20/11.55 = 1.73
Therefore the Assumed FSf = the calculated FSc
1- Assume FSf = 1.8
3- Go to the chart and find SN for fdev = 5.5o
Trial # 3
This means the assumed factor of safety was not the right one. So we need to assume another FSf and solve the problem again for FSc.
Stability Number (c / gH)
Slope Angle b (deg)

## Slide 14
Since we complied three different trials, we are ready to find the right
factor of safety by using the 45o line method
Assumed FSf Calculated FSc
1.0 2.5
1.5 1.9
1.8 1.73
Chart: 
| 1 | 1.5 | 1.8
 | 2.5 | 1.9 | 1.73
1.75
1.75
So the correct FS is 1.75

## Slide 15
Zones are marked on the chart indicating whether the failure mode will be shallow or deep-seated.
If a deep-seated failure is indicated the soil layer must be sufficiently deep to enable this mechanism to occur.
There is a second chart due to Taylor which can be used when the depth of soil below the base of the slope is limited
This chart is only valid for f = 0
Taylor’s Chart - example

## Slide 16
Stability Number (c / gH)

## Slide 17
H= 8m
b=30o
Rock
Example 3:
Given:
cu = 20 kN/m2
fu = 0
gbulk = 15 kN/m3
F.S. = 1.5
Find:
Calculate the depth factor D
Solution
DH = 8+2 = 10 m
D= 1.25
H= 2m

## Slide 18
H= 8m
b=30o
Rock
Example 3:
Given:
cu = 20 kN/m2
fu = 0
gbulk = 15 kN/m3
DH = 10 m
Find:
Factor of Safety
Solution
D = 10/8 = 1.25
FSc = 1.01
H= 2m