## Slide 1
Stresses in Soil
By
Kamal Tawfiq, Ph.D., P.E.
Spring 2019

## Slide 2
There are two types of lateral stresses in soil.
Geostatic Stress
Added Stress
Due to the
weight of the
house
Total Stress
Effective Stress
Pore Water Pressure

## Slide 3
Geostatic Stresses
Total Stress
Effective Stress
Pore Water Pressure
Total Stress= Effective Stress+ Pore Water Pressure
stotal = seff + u
Bossinisque Equations
Point Load
Line Load
Strip Load
Triangular Load
Circular Load
Rectangular Load
Added Stresses (Point, line, strip, triangular, circular, rectangular)
Stress Distribution in Soils
Influence Charts
Newmark Charts
Stress Bulbs
Westergaard’s Method
(For Pavement)
Approximate Method
1:2 Method
A
By: Kamal Tawfiq, Ph.D., P.E
Added
Stress
Geostatic
Stress
sy
sx
txy

## Slide 4
Point Load
Line Load
Strip Load
Triangular Load
Circular Load
Rectangular Load
Types of Loads
wall
x
x
x
x
x
x
Z
Z
Z
Z
Z
Z

## Slide 7
See page 17
See page 17

## Slide 10
σz
σx
σz
σx
τxy
σ2
σ1
σ1
σ2
X/R
Z/R
0.95
1
2
3
4
1
2
3
0
0.90
0.80
0.70
0.30
0.50
0.40
0.10
0.20
0.15
qs
Δσ1/qs
0.60
σz
σx
σz
σx
τxy
Circular Load: (Major Principal Stress)/(Surface Stress)
σz = σ1
σz = σ1
σx = σ2
σx = σ2
θ
Δqs
Z
X
R
Stress Bulbs
Circular Load
9 ft
3 ft
A
qs
σz = σ1
σz = σ1
σx = σ2
σx = σ2

## Slide 11
Geostatic Stresses
&
Stress Distribution in Soils
Stresses from the house
Self-weight of the soil
Or
Geostatic Stress
2:1 Approximate Method
2
1

## Slide 12
Study Guide for Homework # 2
Stress distribution in Soil Layers
Due to Geostatic Stresses and Added Loads

## Slide 13
Strip
Load
Triangular Load -1
Triangular Load -2
Example:
+ .
.

## Slide 14
Stress Distribution in Soil Layers Due to Geoststic Stress & Added Loads
P = Added Stress
(Building)
Building
Before we start the construction of the building
(Figure 1), the geostatic stress at point A is
= 3,450
Before Construction and before adding the load of the building
After the addition 0f the building load
1
2
Z = 30’
G.S.
Vertical geoststic stress (
=
Selfweight of the column of soil at point A
Column of Soil
A
Note:
We used the weight of the soil particles only (i.e. the effective vertical stress)
See Figure 6 (page 7) for other vertical geoststic stresses
Figure 1
Figure 2
Let us consider a project where a high rise building will be constructed at a site
Project Site
Center line
of the load

## Slide 15
P = Added Stress
(Building)
Building
Before Construction and before adding the load of the building
After the addition 0f the building load
1
Z = 30’
G.S.
Vertical geoststic stress (
=
Selfweight of the column of soil at point A
Column of Soil
A
Figure 1
Figure 2
Project Site
After construction, the vertical stress at point A due to the addition of the building load can be determined using Boussinesq's Equations.
A
Z = 30’
Z
Change in the vertical stress due to added stress P, according to Bussinesq’s equations
Use Boussinesq's
Equation
There are equations for each type of load. These loads are:
Point Load (See Figure 3)
Line Load
Strip Load (See Figure 4)
Triangular Load (See Figure 5)
Circular Load
Rectangular Load

## Slide 16
A
Change in the vertical stress
with depth Z
Z
Z
Boussinesq's Equations.
1- Point Load
x
z
R=
P
B
At Point A along the center line
Center Line
Center Line
A
P
Figure 3

## Slide 17
Boussinesq's Equations.
3- Strip Load of Infinite Length
=
Or
= where
4- Triangular Load of Infinite Length
=
Z
Figure 3
Figure 4
q
x
Z
x
z
B = 2b
Strip Load of Infinite Length
d
b
Triangular Load of Infinite Length
2b
q
x
R1
R2
a
d
z
To use this equation see next page

## Slide 18
=
3- Strip Load of Infinite Length
Note:
1 are in radians
2- The above equation is valid for point A,
3- For x =0 or xb, the magnitude of become negative. For this case, that should be replaced by
Solved Example
Given: B=4m and q=100kN/m2. For point A, z = 1m and x=1m. Determine the vertical stress at A.
q=100kN/m2
x
Z
X=1m
Z = 1m
B = 2b
Strip Load of Infinite Length
A

## Slide 19
Solution
Since x=1m < b =2m
=
Hence,
=

## Slide 20
B=2b
q=100 kN/m2
x
R1
R2
a
d
z
Solved Example
Foe linearly increasing vertical loading on an infinite Strip,
Given:
B=2m; q=100kN/m2.
Find:
the vertical stress Dsv at A (x = -1m, z =1.5m)
Solution:
1- Find d and a
d = - 63.43o
a = 29.73o
X=-1m
X=-1.5m
A(-1, 1.5)
=
= 4.47 kN/m2

## Slide 21
There are three stresses in acting at point A. These are
Effective Stress =
Total Stress =
Pore Water Pressure = u
Where
Total Stress = Effective Stress + PWP
=
OR
=
Question:
What is the total stress ()
effective stress ()
pore water pressure ()
at point A
Figure 6
Z = 30’
G.S.
A
W.T.
dw=12’
Geoststic Stresses
Solution
effective stress ()
pore water pressure () = (30-12)(62.4) = 1,123.2 psf
total stress () = 30 x 115 = 3,450 psf