## Slide 1
Study Guide
for
Homework # 4

## Slide 2
Rankine’s Active and Passive Earth Pressure in (c- f) Soil
sh is increasing until failure
Active Earth Pressure

t = c + sn tan f
v’
f’
h’
f
Passive Earth Pressure
q = 45 0- f/2
c
f’
q = 45 0 + f/2
=
=
Or
=
Coefficient of active earth pressure
Active Earth Pressure
=
=
Or
=
Coefficient of passive earth pressure
Passive Earth Pressure
b
H
Fig.1
b
Pa = 0.5 g H2 Ka
b
d = 0
g =
f =
√
√
Rankine’s Active Earth Pressure in ( f) Soil with inclined backfill
Ka = cosb .
Cosb – (cos2b – cos2 f)
Cosb + (cos2b – cos2 f)
√
√
Effect of Two Soil Layers on Active Earth Pressure
g1
f1
h1
h2
sh = gsoilh1Ka1
G.S.
g2
f2
sh = gsoilh1Ka2
sh = (g1 h1 + g2 h2) ka2
Ka1 < Ka2
Ka1
Ka2
g1
f1
h1
h2
sh = gsoilh1Ka1
G.S.
g2
f2
sh = gsoilh1Ka2
sh = (g1 h1 + g2 h2) ka2
Ka1 > Ka2
Ka1
Ka2
Active
Earth Pressure
Passive
Earth Pressure
Active Wedge
Passive Wedge
+
+2c Kp
+
+
=
+2c Kp
g H Kp
+2c Kp
g H Kp +
2c Kp
+
+
+
g H Ka
+
+
qka
qka
Effect of Surcharge Load
Effect of Soil Pressure
+
qka
qka
+ g H Ka
=
q
Effect of Surcharge (q) Load on Active Earth Pressure
Rankine’s Active Earth Pressure in f - Soil & Water Table
W.T.
gsoil
f
h1
h2
sh = gsoilh1 Ka
+
G.S.
sw = gwh2
+
Flexible Wall
+
+
+
Pw = 0.5 gw (h2)2
-
-2c Ka
+
+
=
-2c Ka
g H Ka
-2c Ka
g H Ka -
2c Ka
+
+
-
Tension Crack Zcr =
Pw
+
Effect of Cohesion of the Rankine’s Active and Passive Earth Pressure
Rankine’s Earth Pressure Method for (c- f) Soil
Kamal Tawfiq
Sometimes
we fill the crack with water
***

## Slide 3
COULOMB’S WEDGE THEORY
Different forms of ka
W
d
b
f
N
a
S
S
A
B
C
H
Wall
Sliding
Surface
H/3
y
Pa
(q - f)
Sliding
Wedge
Pa
R
W
(q - f)
(180o - y - q + f)
y =(a - d)
y
Force Triangle
Friction
Friction
R
b
H
H/3
a
Sand
g = ̸
f = ̸
d
Pa
qka
qka
q
P1
H/2
d
+
Kamal Tawfiq
sh = gHKa
d + (90o-a)
d
b
a
H
H/3
Pa = 0.5g H2 ka
Ph = cos [d + (90o-a)]
Pv
d = 0.5f to 0.7f
Sand
g = ̸
f = ̸
sh = gHKa
Draw this perpendicular line first
Then draw Pa with an angle = a
OR
d
b
H
H/3
Pa = 0.5g H2 ka
Ph = cos [d + (90o-a)]
Pv
Sand
g = ̸
f = ̸
sh = gHKa
q
b

## Slide 4
+
+
+
-
1
2
3
3
1
2
L = 1
B
B/3
L/3
=
e
x
Center
Line
Center
Line
Center
Line
V or Fy
Center
Line
+
-
+
+
qmax =
qmin =
+
B
B/3
L/3
Kern
e
x
O
O
e
x
e
x
O
Center
Line of Base
Eccentricity of the Resultant of Vertical Forces
Resultant Force on the Retaining Wall
Sum of the horizontal forces
Sum of the vertical forces
This is where all the forces are acting
L
When you move the vertical force a distance =e
The you will end with a system that has V &M,
where M = V . e
= .e
= B/2
Moment of Inertia=
= Area=B x L
=1
Effect of Eccentricity on the Foundation

## Slide 5
Active Earth Pressure in f - Soil
D = 0
sh = sv ko For Rigid Wall use ko
sh = svko
Pa=g H ko
2
Given:
Vertical retaining wall (Rigid)
Wall height (H) = 12 ft
Backfill unit weight (g) = 115 pcf
Angle of soil friction (f) = 30o
Assume wall to be smooth
Angle of friction between the base and the soil d = 20o
Bearing Capacity of the Foundation , qall =3000 psf
Determine:
The stability of the wall
Solution:
Example -1
1 - sinf
=
Ko
Po = 0.5 g H2 ko
Po = 0.5x115x122x0.5 = 4,140 lb/ft
Rigid Wall
3 ft
8 ft
H = 12 ft
W1
W2
W3
g = 115 pcf
f = 30o
X - Force (lb)/ft) | Vertical Distance (ft) | Fy (lb)/ft | Moment Arm X (ft) | Driving Moment (ft.lb)/ft | Resisting Moment (ft.lb)/ft
Pa= 4,140 | 4 |  |  | 4,140 x 4 = 16,560 | 
 |  | W1= 0.5x5x12x115 = 3,450 | 6.33 |  | 3,450x6.33=21,838.5
 |  | W2 =0.5x5x12x150 = 4,500 | 4.66 |  | 4,500x4.66 = 20,970
 |  | W3 = 3x12x150 = 5400 | 1.5 |  | 5,400 x 1.5 = 8,100
Pp = 0 | 0 |  |  |  | o
 |  | 13,350 |  | 16,560 | 50,908.5
X - Force (lb)/ft) | Vertical Distance (ft) |  | Moment Arm X (ft) | Driving Moment (ft.lb)/ft | Resisting Moment (ft.lb)/ft
Pa= 4,140 | 4 |  |  | 4,140 x 4 = 16,560 | 
 |  | W1= 0.5x5x12x115 = 3,450 | 6.33 |  | 3,450x6.33=21,838.5
 |  | W2 =0.5x5x12x150 = 4,500 | 4.66 |  | 4,500x4.66 = 20,970
 |  | W3 = 3x12x150 = 5400 | 1.5 |  | 5,400 x 1.5 = 8,100
Pp = 0 | 0 |  |  |  | o
 |  | 13,350 |  | 16,560 | 50,908.5
O
ya = 4’
x1 = 6.33’
x3 = 1.5’
x2 = 4.66’
1- Factor of Safety Against Sliding
FS(sliding) = Pp = 0
=
2- Factor of Safety Against Overturning
FS(overturning) = =
3- Factor of Safety Bearing Capacity Failure = FS(BC)
Mnet = ∑MR - ∑MD = 50,908.5 -16,560 = 34,348.5 ft.lb/ft
Mnet = 34348.5 = ∑Fy(X) = 13350 (X)
X = (Mnet / ∑Fy ) = 2.57 ft
e = (8/2) – 2.57 = 1.43 ft < B/6 or 8/6 = 1.33 (Partial contact Case 3)
Friction
qmax = +
qmax = +
qmax = +
qmin = 0
qmin = +
qmin = -
+
+
+
-
1
2
3
3
1
2
L
B
B/3
L/3
M
V or Fy
Case 3 : is not acceptable
No need to determine qmax and qmin

## Slide 6
Active & Passive Earth Pressure in f - Soil
sh = sv ka
Given:
Vertical retaining wall (flexible)
Wall height (H) = 12 ft
Backfill unit weight (g) = 115 pcf
Angle of soil friction (f) = 30o
Assume wall to be smooth
gconcrete = 150 lb/ft3
D = 4 ft
Find:
Resultant Force of the Wall
Solution:
Example -2
1 - sinf
1 + sinf
=
Ka
Pa = 0.5 g H2 ka
Pa = 0.5 x 122 x115x 0.33 = 2,732.4 lb/ft2
Pa=0.5 H2 g ka
Pp= 0.5 D2 g kp
H=12 ft
D = 4 ft
W
B = 8 ft
L = 4 ft
t = 1 ft
Pp = 0.5x 42 x115x3 = 2,760 lb/ft2
Pp = 0.5 D2 g kp
1+ sinf
1- sinf
=
Kp
sh = sv ka
sh = sv kp

## Slide 7
Fx (lb)/ft | Y (ft) | Fy (lb)/ft | Moment Arm X (ft) | Driving Moment (ft.lb)/ft | Resisting M (ft.lb)/ft
Pa= 2,732.4 | 4 |  |  | 2,732.4x4 = 10,929.6 | 
 |  | W1= 4x10x115 = 4,600 | 6 |  | 4600x6=27,600
 |  | W2 =1x10x150 = 1,500 | 3.5 |  | 1,500x3.5=5,250
 |  | W3 = 8x1x150=1,200 | 4 |  | 1,200x4=4,800
 |  | W4 =2x3x115 = 690 | 1.5 |  | 690x1.5= 1,035
Pp= 2,760 | 1.33 |  |  |  | 2,760x1.33= 3,680
 |  | 7,990 |  | 10,929.6 | 42,365
1- Factor of Safety Against Sliding = FS(sliding) = =
2- Factor of Safety Against Overturning = FS(overturning) = = k
3- Factor of Safety Bearing Capacity Failure = FS(BC)
Pa= 2,732.4 lb/ft2
W1
B = 8 ft
L = 4 ft
t = 1 ft
W2
W3
W4
Pp= 2,760 lb/ft2
h = 2 ft
Ya = 4 ft
R
O
Friction
= (∑V)tand
Mnet = ∑Mr - ∑Mo = 42,365 -10,929.6 = 31,435.4 ft.lb/ft
Mnet = 31,435.4 = ∑Fy(X) = 7,990.(X)
X = (Mnet / ∑Fy ) = 3.93 ft
e = (8/2) – 3.93 = 0.0656 ft < B/6 or 8/6 = 1.33 (Full contact)
= = 1,047.8 = 3,000
= = 949.6
= 1,047
= 949.6
+
e
X
∑Fy
∑Fx
qmax
qmin
+
B = 8 ft
B/3
L/3
Kern
e
x
e
x
O
O
qmax
qmax
qmax
qmin = 0
qmin = +
qmin = -
+
+
+
-
1
2
3
3
1
2
L
B
B/3
L/3
d
d

## Slide 8
Solution
From the figure,
H* = H1 + H2 + T1 = 8 tan 10° + 19.5 + 2 = 22.91 ft
The Rankine active force per unit length of wall =
Example 3
Given
The cross section of a cantilever retaining wall is shown in Figure 1. Calculate the factors of safety with respect to overturning, sliding, and bearing capacity.
10o
H1 = 1.41 ft
q = 120 lb/ft
1 ft
g1 = 115 lb/ft3
f1 = 30o
c1 = 0
H2 = 19.5 ft
Pa2
10o
Ph2
Pv1
2
3
T1 = 2 ft
g2 = 112 lb/ft3
f2 = 20o
c2 = 800 lb/ft2
2.25 ft
2.25 ft
8 ft
4.5 ft
4
6
5
W2
W3
W1
W4
W6
W5
a4
a6
a5
a2
a3
a1
O
av
ya
Pa1
10o
Ph1
Pv2

## Slide 9
1- Factor of Safety Against Sliding = FS(sliding) = =
Add Passive Resistance
Pp = 0.5 x 4.52 x 115 x 3 = 3493.13 lb/ft
2- Factor of Safety Against Sliding = FS(sliding) = =
3- Factor of Safety Against Overturning = FS(overturning) = =
4- Factor of Safety Bearing Capacity Failure = FS(BC) =
Driving Force (lb/ft2)/ft |  | Resisting Force (lb/ft2)/ft |  | Weight/Unit Length (lb/ft) |  | Moment Arm from Point O (ft) | Driving Moment (ft.lb/ft) |  | Resisting Moment (ft.lb/ft) | 
Ph1 = | 920.13 |  |  |  |  | 11.45 | 920.13x11.45 | 10535.4885 |  | 
Ph2 = | 10096.45 |  |  |  |  | 7.64 | 10096.45x7.64 | 77136.878 |  | 
 |  |  |  | W1 = 120 x 8 | 960 | 8.5 |  |  | 960x8.5 | 8,160
 |  |  |  | W2 = 8X19.5X115 | 17,940 | 8.5 |  |  | 17,940x8.5 | 152,490
 |  |  |  | W3 = 0.5X1.41X8X115 | 648.6 | 9.83 |  |  | 648.6x9.83 | 6,376
 |  |  |  | W4 = 1X19.5X150 | 2,925 | 4 |  |  | 2925x4 | 11,700
 |  |  |  | W5 = 12.5X2X150 | 3,750 | 6.25 |  |  | 3750x6.2 | 23,438
 |  |  |  | W6 = 0.5X1.25X19.5X150 | 1,828.13 | 3.08 |  |  | 1,828.13x3.08 | 5,631
 |  |  |  | ∑Pv = 162.24+1780.28 | 1,942.52 | 12.5 |  |  | 1942.52x12.5 | 24,282
 |  | Pp | 0 |  |  |  |  |  |  | 
 |  |  | 0 |  |  |  |  |  |  | 
∑Ph = | 11016.58 | Pp | 0 | ∑ Fy | 29,994.25 |  | ∑MD | 87,672.37 | ∑MR | 232,075.36

## Slide 10
R
Mnet = ∑MR - ∑MD = 232,075.36 - 87,672.37 = 144,402.99 ft.lb/ft
Mnet = 144,402.99 = ∑Fy(X) = 29,994.25 (X)
X = (Mnet / ∑Fy ) = 4.81 ft
e = (12.5/2) – 4.81 = 1.44 ft < B/6 or 12.5/6 = 2.083 (Full contact)
= = = 3,000 No good
= =
qmax =
4058.1 lb/ft2
qmin = 740.97 lb/ft2
+
B = 12.5 ft
B/3
L/3
Kern
e
x
e = 1.44’
x
O
O
10o
H1 = 1.41 ft
q = 120 lb/ft
g1 = 115 lb/ft3
f1 = 30o
c1 = 0
H2 = 19.5 ft
Pa2
10o
Ph2
Pv1
2
3
T1 = 2 ft
g2 = 112 lb/ft3
f2 = 20o
c2 = 800 lb/ft2
2.25 ft
2.25 ft
8 ft
4.5 ft
4
6
5
W2
W3
W1
W4
W6
W5
a5
O
ya
Pv
Pa1
10o
Ph1
Pv2
R
∑Fy
∑Fx

## Slide 11
Example 4
Given:
The cross section of a retaining wall as shown in Figure 4.
Find:
Calculate the earth pressure using Rankine’s and Coulomb Earth Pressure Methods
Solution:
1- Using Rankine’s Method
Because of the slope in the backfill
H = 5 ft
b = 10o
1= 110 lb/ft3 c1=0
1= 30o
70o
=
H* = 5.32 ft
20o
10o
0.32’
1.82’
H* = 5’+0.32’ = 5.32’
W = Area ABC x gsoil = 0.5 x 5.32 x 1.82 x 110 = 532.53
R =
A
B
C
W
R
H/3 = 5/3
= 1.67’
H/3 = 5/3 = 1.67’
= 536.54 lb/ft
b = 10o
q = 49.4o

## Slide 12
Example 4
2- Using Coulomb’s Method
Because of the slope in the backfill
H = 5 ft
b = 10o
1= 110 lb/ft3 c1=0
1= 30o
70o
H* = 5.32 ft
20o
10o
0.32’
1.82’
W = Area ABC x gsoil = 0.5 x 5 x 1.82 x 110 = 532.53
R =
A
B
C
W
R
H/3 = 5/3
= 1.67’
H/3 = 5/3 = 1.67’
= 536.54 lb/ft
b = 10o
q = 49.4o

## Slide 13
Active Earth Pressure in c- f Soil (Using Rankine’s Method)
Given:
Vertical retaining wall (flexible)
Wall height (H) = 12 ft
Backfill unit weight (g) = 115 pcf
Angle of soil friction (f) = 30o
- Soil Cohesion c = 100 lb/ft2
Assume wall to be smooth (d=0)
Find:
Lateral force Pa acting on the wall
Solution:
Example - 5
=
Rankine’s Method
always assumes d = 0
Point | Vertical Stress sv ( | Horizontal Stress sh (
1 | 0 | -2c = -114.89
2 | 0 | -2c =-114.89
1 | q =150 | qka = 150 x 0.33 = 49.5
2 | q = 150 | qka= 150 x 0.33 = 49.5
3 | gH= 115x12 | gHka = 115x12x0.33 = 455.4
4 | Zcr x gwater =1.72x62.4 | Pw = 0.5 (1.72)2 x 62.4 = 92.30
Point |  | 
1 | 0 | 
2 | 0 | 
1 | q =150 | qka = 150 x 0.33 = 49.5
2 | q = 150 | qka= 150 x 0.33 = 49.5
3 | gH= 115x12 | gHka = 115x12x0.33 = 455.4
4 | Zcr x gwater =1.72x62.4 | Pw = 0.5 (1.72)2 x 62.4 = 92.30
Lateral Force P (lb/ft) | Distance to O (ft)
P1 = -114.89 x 12 = - 1,378.7 | y1 = 12/2= 6
P2 = 49.5 x 12 = 594 | y2 = 12/2= 6
Pa = 0.5 x 455.4 x 12 = 2,732.4 | y3 = 12/3 = 4
Pw= 92.30 | Yw = 10.85
R = 2040 | Take Moment about Point O = -1,378.7x6 + 594x6 +2732.4 x (12/3)+ 92.3x10.85= 7222.88 ft-lb ya =
Lateral Force P (lb/ft) | Distance to O (ft)
P1 = -114.89 x 12 = - 1,378.7 | y1 = 12/2= 6
P2 = 49.5 x 12 = 594 | y2 = 12/2= 6
Pa = 0.5 x 455.4 x 12 = 2,732.4 | y3 = 12/3 = 4
Pw= 92.30 | Yw = 10.85
O
ya = 12/3 = 4’
H=12ft
Ya = 3.54’
sh2 = sv ka=g Hka=115x12x0.33= 455.4 (
0.5x115x122x0.33=2,732.4 lb/ft
= 115 pcf
f= 30o
C= 100 psf
q =150 lb/ft
P2 = q x H x ka
qka
qka
1
2
+
+
-
+
+
P1
y3
y2
y1
Example: Clayey – Sand (SC)
To determine the resultant Force and its point of action
This is the tension crack which will develop behind the wall. It will trap water. To determine the depth Zcr which is the depth of water add all the lateral stresses as follows:
= 1.72’
Pw = 0.5 Z2cr x gwater
3
4
yw